## PLC Tags
Symbol | Path | Data Type | Logical Address | Comment | Hmi Visible | Hmi Accessible | Hmi Writeable | Typeobject ID | Version ID
F17950_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW17951 | Profisafe Status I/O | True | True | True
F06250_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW4491 | Profisafe Status I/O | True | True | True
F07000_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW4657 | Profisafe Status I/O | True | True | True
+259+020+AS01=S1-SZA-SX4 | HMI | Bool | %I1903.0 | PUSH BUTTON SET +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-SX5 | HMI | Bool | %I1904.0 | PUSH BUTTON RESET +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-SX2 | HMI | Bool | %I1901.0 | PUSH BUTTON RESET ALARM +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-SX3 | HMI | Bool | %I1902.0 | PUSH BUTTON START +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-SX1 | HMI | Bool | %I1900.0 | PUSH BUTTON RESET SAFETY OBJECT +259+020+AS01 | True | True | True
+259+020+AS11=S2-SJB1 | All | Bool | %I501.0 | LOADING READY +259+020+AS11 | True | True | True
+259+020+AS11=S2-SJB2 | All | Bool | %I501.1 | CALL FOR MAINTENANCE +259+020+AS11 | True | True | True
+259+020+AS11=S2-SJB3 | All | Bool | %I501.2 | CALL FOR TEAM LEADER +259+020+AS11 | True | True | True
+259+020+AS01=E1-PFA1 | HMI | Bool | %Q1900.2 | STACK LIGHT EQUIPMENT FAULT +259+020+AS01 | True | True | True
+259+020+AS01=E1-PFA2 | HMI | Bool | %Q1900.1 | STACK LIGHT SAFETY RESETABLE STATUS +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-PX2 | HMI | Bool | %Q1901.0 | INDICATION RESET SAFETY STOP +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-PX3 | HMI | Bool | %Q1902.0 | INDICATION START +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-PX1 | HMI | Bool | %Q1900.0 | INDICATION RESET SAFETY +259+020+AS01 | True | True | True
+259+020+ZS02=E1-PFA1 | All | Bool | %Q1900.3 | FLASHLIGHT RESET E-STOP / SAFETY STOP +259+020+ZS02 | True | True | True
+259+020+AS01=F9-SGC1 | HMI | Bool | %I1950.0 | E-STOP PUSH BUTTON +259+020+AS01 | True | True | True
+259+020+AS02=S1-SZA-SX4 | HMI | Bool | %I2003.0 | PUSH BUTTON SET +259+020+AS02 | True | True | True
+259+020+AS02=S1-SZA-SX5 | HMI | Bool | %I2004.0 | PUSH BUTTON RESET +259+020+AS02 | True | True | True
+259+020+AS02=S1-SZA-SX2 | HMI | Bool | %I2001.0 | PUSH BUTTON RESET SAFETY +259+020+AS02 | True | True | True
+259+020+AS02=S1-SZA-SX3 | HMI | Bool | %I2002.0 | PUSH BUTTON START +259+020+AS02 | True | True | True
+259+020+AS02=S1-SZA-SX1 | HMI | Bool | %I2000.0 | RESET SAFETY OBJECT +259+020+AS02 | True | True | True
+259+020+AS02=E1-PFA1 | HMI | Bool | %Q2000.2 | STACK LIGHT EQUIPMENT FAULT +259+020+AS02 | True | True | True
+259+020+AS02=E1-PFA2 | HMI | Bool | %Q2000.1 | STACK LIGHT SAFETY RESETABLE STATUS +259+020+AS02 | True | True | True
+259+020+AS02=S1-SZA-PX2 | HMI | Bool | %Q2001.0 | INDICATION RESET SAFETY STOP +259+020+AS02 | True | True | True
+259+020+AS02=S1-SZA-PX3 | HMI | Bool | %Q2002.0 | INDICATION START +259+020+AS02 | True | True | True
+259+020+AS02=S1-SZA-PX1 | HMI | Bool | %Q2000.0 | INDICATION RESET SAFETY +259+020+AS02 | True | True | True
+259+020+ZS02=E1-PFA2 | All | Bool | %Q521.5 | FLASHLIGHT RESET E-STOP / SAFETY STOP +259+020+ZS02 | True | True | True
+259+020+AS02=F9-SGC1 | HMI | Bool | %I2050.0 | E-STOP PUSH BUTTON +259+020+AS02 CH1 | True | True | True
+259+020+FD01A=K5-KEC42.1F_X0 | All | Bool | %Q4562.0 | ENABLE CONTROL VOLTAGE VALVE ISLAND | True | True | True
+259+020+FD02A=K5-KEC43.1F_X0 | All | Bool | %Q6540.0 | ENABLE CONTROL VOLTAGE VALVE ISLAND | True | True | True
+259+020+FD02A=B0-BGB1_4 | All | Bool | %I18500.0 | DETECT CARPART | True | True | True
+259+020+FD02A=B0-BGB2_4 | All | Bool | %I18500.2 | DETECT CARPART | True | True | True
+259+020+FD02A=B0-BGB3_4 | All | Bool | %I18500.4 | DETECT CARPART | True | True | True
+259+021+FD02A=B0-BGB1_4 | All | Bool | %I17700.0 | PART DETECTION V436 | True | True | True
+259+021+FD02A=B0-BGB2_4 | All | Bool | %I17700.2 | PART DETECTION V436 | True | True | True
+259+020+FD03A=K5-KEC46.1F_X0 | All | Bool | %Q6600.0 | ENABLE CONTROL VOLTAGE VALVE ISLAND | True | True | True
+259+020+FD03A=B0-BGB1_4 | All | Bool | %I18600.0 | DETECT CARPART | True | True | True
+259+020+FD03A=B0-BGB2_4 | All | Bool | %I18600.2 | DETECT CARPART | True | True | True
+259+010+CRC01=K5-KHB64.0 | Rack Changer | Bool | %Q6450.0 | ENABLE CONTROL VOLTAGE VALVE ISLAND | True | True | True
+259+010+AX01=-BGB12_12 | Rack Changer | Bool | %I17900.0 | D1OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=-BGB12_11 | Rack Changer | Bool | %I17900.1 | D2OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=-BGB12_10 | Rack Changer | Bool | %I17900.2 | D3OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=-BGB12_9 | Rack Changer | Bool | %I17900.3 | D4OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=-BGB12_8 | Rack Changer | Bool | %I17900.4 | D5OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=-BGB12_7 | Rack Changer | Bool | %I17900.5 | D6OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=-BGB12_6 | Rack Changer | Bool | %I17900.6 | D7OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=-BGB12_5 | Rack Changer | Bool | %I17900.7 | D8OUT IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AX01=BGB12_4 | Rack Changer | Bool | %I17901.0 | Reception Indicator IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=BGB12_3 | Rack Changer | Bool | %I17901.1 | SYNC IR-UNIT FOR AGV COMMUNICATION +259+010+CRC01 | True | True | True
+259+010+AS31=-SX1_14 | Rack Changer | Bool | %I17901.5 | TRANSPORT TO POSITION +259+010+AS31 | True | True | True
+259+010+AS31=-SH2_14 | Rack Changer | Bool | %I17901.6 | WORK PERFORMED +259+020+AS31 | True | True | True
+259+010+AX01=-BGB12_22 | Rack Changer | Bool | %Q17910.0 | DIN1 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=-BGB12_21 | Rack Changer | Bool | %Q17910.1 | DIN2 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=-BGB12_20 | Rack Changer | Bool | %Q17910.2 | DIN3 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=-BGB12_19 | Rack Changer | Bool | %Q17910.3 | DIN4 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=-BGB12_18 | Rack Changer | Bool | %Q17910.4 | DIN5 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=-BGB12_17 | Rack Changer | Bool | %Q17910.5 | DIN6 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=-BGB12_16 | Rack Changer | Bool | %Q17910.6 | DIN7 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=-BGB12_15 | Rack Changer | Bool | %Q17910.7 | DIN8 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=BGB12_24 | Rack Changer | Bool | %Q17911.0 | DIN1 IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AX01=BGB12_23 | Rack Changer | Bool | %Q17911.1 | IN MASTER/SLAVE IR DEVICE FOR AGV COMMUNICATION | True | True | True
+259+010+AS01=-SX1_X1 | Rack Changer | Bool | %Q17911.5 | TRANSPORT TO POSITION | True | True | True
+259+010+AS01=-PX1_X1 | Rack Changer | Bool | %Q17911.6 | READY FOR LOADING/UNLOADING | True | True | True
+259+010+AS01=-SH1_14 | Rack Changer | Bool | %I17950.2 | TRANSPORT TO POSITION | True | True | True
+259+010+AX01=F7-BRB1_4 | Rack Changer | Bool | %I17950.3 | AGV IN POSITION SENSOR / CH1 +259+010+CRC01 | True | True | True
+259+010+AS31=-SH1_24 | Rack Changer | Bool | %I17950.6 | SWITCHING KEY SWITCH (CHANNEL 2) | True | True | True
+259+010+AX01=F7-BRB2_4 | Rack Changer | Bool | %I17950.7 | AGV I POSITION CHANNEL 2 F7-BRB2 | True | True | True
+259+010+AX01=F7-BGB23_2 | Rack Changer | Bool | %I17956.0 | TURN TABLE IN POSITION SIDE B F7-BGB23_1 | True | True | True
+259+010+AX01=F7-BGB26_2 | Rack Changer | Bool | %I17956.1 | TURN TABLE IN POSITION SIDE A F7-BGB26_1 | True | True | True
+259+010+CRC=M1-BGB15 | Standard I/O | Bool | %I20513.0 | DETECTION LOW SPEED POSITION CONVEYOR CHAIN 1 INFEED | True | True | True
+259+010+CRC=M1-BGB13 | Standard I/O | Bool | %I20513.2 | RACK IN STOP POSITION CONVEYOR CHAIN 1 INFEED | True | True | True
+259+021+AS01=S1-SZA-SX4 | HMI | Bool | %I1803.0 | PUSH BUTTON SET +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-SX2 | HMI | Bool | %I1801.0 | PUSH BUTTON RESET ALARM +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-SX1 | HMI | Bool | %I1800.0 | PUSH BUTTON RESET SAFETY OBJECT +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-SX3 | HMI | Bool | %I1802.0 | PUSH BUTTON START +259+021+AS01 | True | True | True
+259+021+AS01=E1-PFA10 | HMI | Bool | %Q1800.2 | STACK LIGHT EQUIPMENT FAULT +259+021+AS01 | True | True | True
+259+021+AS01=E1-PFA11 | HMI | Bool | %Q1800.1 | STACK LIGHT SAFETY RESETABLE STATUS +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-PX2 | HMI | Bool | %Q1801.0 | INDICATION RESET SAFETY STOP +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-PX3 | HMI | Bool | %Q1802.0 | INDICATION START +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-PX1 | HMI | Bool | %Q1800.0 | INDICATION RESET SAFETY +259+021+AS01 | True | True | True
+259+021+ZS01=E1-PFA1 | All | Bool | %Q1800.3 | FLASHLIGHT RESET E-STOP / SAFETY STOP +259+021+ZS01 | True | True | True
+259+021+AS01=F9-SGC1 | HMI | Bool | %I1850.0 | E-STOP PUSH BUTTON +259+021+AS01 | True | True | True
+259+021+ZS01=F7-BGB1 | All | Bool | %I4656.2 | FEEDBACK SAFETY STOP VALVE AIR +259+021+ZS01 CH1 | True | True | True
+259+021+ZS01=F7-BPB1 | All | Bool | %I4656.5 | PRESSURE SWITCH AIR OK +259+021+ZS01 | True | True | True
+259+021+ZS01=F7-BGB2 | All | Bool | %I4656.6 | FEEDBACK SAFETY STOP VALVE AIR +259+021+ZS01 CH2 | True | True | True
+259+021+AP01=F7-MBB1 | All | Bool | %Q7118.0 | SOFTSTARTER / SAFETY VALVE S1 +259+021+ZS01 | True | True | True
+259+021+AP01=F7-MBB2 | All | Bool | %Q7118.1 | SOFTSTARTER / SAFETY VALVE S2 +259+021+ZS01 | True | True | True
+259+021+FD01A=K6-TBA51.1_-XOUT_4 | All | Bool | %Q17450.0 | SAFE TORQUE OFF DESTACO SMART ELECTRIC CLAMPING UNITS & CENTERING PINS 021FD01A | True | True | True
+259+021+FD02A=K6-KFEC52.1F_X0 | All | Bool | %Q7540.0 | ENABLE CONTROL VOLTAGE VALVE ISLAND | True | True | True
+259+021+FD02A=K5-KEC69.1F_X0 | All | Bool | %Q7560.0 | ENABLE CONTROL VOLTAGE VALVE ISLAND | True | True | True
+259+021+FD02A=K5-KEC69.1F_X1 | All | Bool | %Q7560.1 | ENABLE STO VarioX | True | True | True
+259+021+FD02A=K6-TBA52.1_-XOUT_4 | All | Bool | %Q17450.1 | SAFE TORQUE OFF DESTACO SMART ELECTRIC CLAMPING UNITS & CENTERING PINS 021FD02A | True | True | True
F05055_F-DQ4x24VDC/2APMHF_StatusValue0 | Safety I/O | Word | %IW4356 | Profisafe Status I/O | True | True | True
F05060_F-DQ4x24VDC/2APMHF_StatusValue0 | Safety I/O | Word | %IW4361 | Profisafe Status I/O | True | True | True
F06206_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW6207 | Profisafe Status I/O | True | True | True
F06256_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW6257 | Profisafe Status I/O | True | True | True
F06080_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW4405 | Profisafe Status I/O | True | True | True
+259+020+CA01=M4-MBB2 | All | Bool | %Q1180.2 | PRE-UNLOAD STOPPER SET | True | True | True
+259+010+CRC01=M2-TAC83_In | Rack Changer | "Telegram30SW" | %I8350.0 | Profisafe Status I/O | True | True | True
+259+010+CRC01=M1-TAC82_In | Rack Changer | "Telegram30SW" | %I8250.0 | Profisafe Status I/O | True | True | True
+259+010+CRC01=M3-TAC84_In | Rack Changer | "Telegram30SW" | %I8450.0 | Profisafe Status I/O | True | True | True
+259+010+CRC01=M4-TAC85_In | Rack Changer | "Telegram30SW" | %I8550.0 | Profisafe Status I/O | True | True | True
+259+020+CA01=M1-TAC71_Out | Safety I/O | "Telegram30CW" | %Q7200.0 | Profisafe Status I/O | True | True | True
+259+010+CRC01=M2-TAC83_Out | Rack Changer | "Telegram30CW" | %Q8350.0 | Profisafe Status I/O | True | True | True
+259+010+CRC01=M1-TAC82_Out | Rack Changer | "Telegram30CW" | %Q8250.0 | Profisafe Status I/O | True | True | True
+259+010+CRC01=M3-TAC84_Out | Rack Changer | "Telegram30CW" | %Q8450.0 | Profisafe Status I/O | True | True | True
+259+010+CRC01=M4-TAC85_Out | Rack Changer | "Telegram30CW" | %Q8550.0 | Profisafe Status I/O | True | True | True
F06156_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW4434 | Profisafe Status I/O | True | True | True
F06100_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW6101 | Profisafe Status I/O | True | True | True
Clock_Byte | General | Byte | %MB0 | Clock Byte | False | False | False
Blink_0,1s | General | Bool | %M0.0 | Blink with 0,1s (10.0Hz) | False | False | False
Blink_0,2s | General | Bool | %M0.1 | Blink with 0,2s (5.0Hz) | False | False | False
Blink_0,4s | General | Bool | %M0.2 | Blink with 0,4s (2.5Hz) | False | False | False
Blink_0,5s | General | Bool | %M0.3 | Blink with 0,5s (2.0Hz) | False | False | False
Blink_0,8s | General | Bool | %M0.4 | Blink with 0,8s (1.25Hz) | False | False | False
Blink_1,0s | General | Bool | %M0.5 | Blink with 1,0s (1.0Hz) | False | False | False
Blink_1,6s | General | Bool | %M0.6 | Blink with 1,6s (0.625Hz) | False | False | False
Blink_2,0s | General | Bool | %M0.7 | Blink with 2,0s (0.5Hz) | False | False | False
System_Byte | General | Byte | %MB1 | System Byte | False | False | False
FirstScan | General | Bool | %M1.0 | First Scan | False | False | False
DiagStatusUpdate | General | Bool | %M1.1 | Diag Status Update | False | False | False
Pulse_0,1s | General | Bool | %M2.0 | Pulse every 0,1s (10.0Hz) | False | False | False
Pulse_0,2s | General | Bool | %M2.1 | Pulse every 0,2s (5.0Hz) | False | False | False
Pulse_0,4s | General | Bool | %M2.2 | Pulse every 0,4s (2.5Hz) | False | False | False
Pulse_0,5s | General | Bool | %M2.3 | Pulse every 0,5s (2.0Hz) | False | False | False
Pulse_0,8s | General | Bool | %M2.4 | Pulse every 0,8s (1.25Hz) | False | False | False
Pulse_1,0s | General | Bool | %M2.5 | Pulse every 1,0s (1.0Hz) | False | False | False
Pulse_1,6s | General | Bool | %M2.6 | Pulse every 1,6s (0.625Hz) | False | False | False
Pulse_2,0s | General | Bool | %M2.7 | Pulse every 2,0s (0.55Hz) | False | False | False
NotUsedBool | General | Bool | %M5.7 | Not used | False | False | False
NotUsedByte | General | Byte | %MB41 | Not used dummy | False | False | False
NotUsedWord | General | Word | %MW42 | Not used dummy | False | False | False
NotUsedDWord | General | DWord | %MD44 | Not used dummy | False | False | False
NotUsedInt | General | Int | %MW48 | Not used dummy | False | False | False
NotUsedDInt | General | DInt | %MD50 | Not used dummy | False | False | False
NotUsedReal | General | Real | %MD54 | Not used dummy | False | False | False
NotUsedTime | General | Time | %MD62 | Not used dummy | False | False | False
NotUsedSInt | General | SInt | %MB70 | Not used dummy | False | False | False
NotUsedUInt | General | UInt | %MW72 | Not used dummy | False | False | False
NotUsedUSInt | General | USInt | %MB71 | Not used dummy | False | False | False
NotUsedUDInt | General | UDInt | %MD74 | Not used dummy | False | False | False
NotUsedLReal | General | LReal | %M94.0 | Not used dummy | False | False | False
NotUsedULInt | General | ULInt | %M78.0 | Not used dummy | False | False | False
NotUsedLInt | General | LInt | %M86.0 | Not used dummy | False | False | False
CalibrateMovUnits | General | Bool | %M5.0 | CalibrateMovUnits | False | False | False
ProDiag | General | Bool | %M5.1 | ProDiag | True | True | True
Language | General | Int | %MW6 | Language | True | True | True
Zero | General | DInt | %MD216 | 0 | False | False | False
ScreenSaver | General | Int | %MW8 | ScreenSaver | True | True | True
DayLightSavingTime | General | Bool | %M5.6 | DayLightSavingTime | True | True | True
+259+020+ASD01=F7-QQC1_StatusValue0 | Safety I/O | Word | %IW4551 | Profisafe Status I/O | True | True | True
DontUseTRUE | General | Bool | %M1.2 | Use Constant TRUE | True | True | True
DontUseFALSE | General | Bool | %M1.3 | Use Constant FALSE | True | True | True
+251+001+AE01_In | PNPN I/O | "PNPN" | %I25181.0 | PN Interface In | True | True | True
+251+001+AE01_Out | PNPN I/O | "PNPN" | %Q25181.0 | PN Interface Out | True | True | True
+259+020+FM01=B0-BGB1_4 | All | Bool | %I6100.4 | DETECT BSI PART | True | True | True
+259+020+FM01=B0-BGB2_4 | All | Bool | %I6100.6 | DETECT BSI PART | True | True | True
+259+020+FM01=B0-BGB3_4 | All | Bool | %I6101.0 | DETECT BSI PART | True | True | True
+259+020+AS03=E1-PFA2 | HMI | Bool | %Q2100.1 | STACK LIGHT SAFETY RESETABLE STATUS +259+020+AS02 | True | True | True
+259+020+AS03=E1-PFA1 | HMI | Bool | %Q2100.2 | STACK LIGHT EQUIPMENT FAULT +259+020+AS02 | True | True | True
+259+020+AS03=S1-SZA-PX2 | HMI | Bool | %Q2101.0 | INDICATION RESET SAFETY STOP +259+020+AS02 | True | True | True
+259+020+AS03=S1-SZA-PX3 | HMI | Bool | %Q2102.0 | INDICATION START +259+020+AS02 | True | True | True
+259+020+AS03=S1-SZA-PX1 | HMI | Bool | %Q2100.0 | INDICATION RESET SAFETY +259+020+AS02 | True | True | True
+259+020+ZS02=E1-PFA3 | All | Bool | %Q511.5 | FLASHLIGHT RESET E-STOP / SAFETY STOP +259+020+ZS02 | True | True | True
+251+040+AS01=E1-PFA2 | HMI | Bool | %Q2200.1 | STACK LIGHT SAFETY RESETABLE STATUS +259+021+AS01 | True | True | True
+251+040+AS01=E1-PFA1 | HMI | Bool | %Q2200.2 | STACK LIGHT EQUIPMENT FAULT +259+021+AS01 | True | True | True
+251+040+AS01=S1-SZA-PX2 | HMI | Bool | %Q2201.0 | INDICATION RESET SAFETY STOP +259+021+AS01 | True | True | True
+251+040+AS01=S1-SZA-PX3 | HMI | Bool | %Q2202.0 | INDICATION START +259+021+AS01 | True | True | True
+251+040+AS01=S1-SZA-PX1 | HMI | Bool | %Q2200.0 | INDICATION RESET SAFETY +251+040+AS01 | True | True | True
+251+040+AS02=S1-SJB3_X1 | HMI | Bool | %Q1010.2 | INDICATION RESET SAFETY STOP +251+040+AS01 | True | True | True
+251+040+AS02=S1-SJB4_X1 | HMI | Bool | %Q1010.3 | INDICATION START +259+040+AS02 | True | True | True
+251+040+AS02=S1-SJB5_X1 | HMI | Bool | %Q1010.4 | INDICATION RESET SAFETY +259+040+AS02 | True | True | True
+251+040+AS02=E1-PFA2 | HMI | Bool | %Q1010.1 | STACK LIGHT SAFETY RESETABLE STATUS +259+040+AS02 | True | True | True
+251+040+AS02=E1-PFA1 | HMI | Bool | %Q1010.0 | STACK LIGHT EQUIPMENT FAULT +259+040+AS02 | True | True | True
+251+040+ZS04=E1-PFA1 | All | Bool | %Q2200.3 | FLASHLIGHT RESET E-STOP / SAFETY STOP +259+021+ZS01 | True | True | True
+251+040+ZS04=E1-PFA2 | All | Bool | %Q1001.5 | FLASHLIGHT RESET E-STOP / SAFETY STOP +259+021+ZS01 | True | True | True
+251+040+AS01=S1-SZA-SX4 | HMI | Bool | %I2203.0 | PUSH BUTTON SET +251+040+AS01 | True | True | True
+251+040+AS01=S1-SZA-SX5 | HMI | Bool | %I2204.0 | PUSH BUTTON RESET +251+040+AS01 | True | True | True
+251+040+AS01=S1-SZA-SX2 | HMI | Bool | %I2201.0 | PUSH BUTTON RESET ALARM +251+040+AS01 | True | True | True
+251+040+AS01=S1-SZA-SX3 | HMI | Bool | %I2202.0 | START +251+021+AS01 | True | True | True
+251+040+AS01=S1-SZA-SX1 | HMI | Bool | %I2200.0 | PUSH BUTTON RESET SAFETY OBJECT +251+021+AS01 | True | True | True
+259+021+MSR01=F7-KEB200_In | Safety I/O | "ASSA Abloy Rapid Protect Input" | %I20000.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+MSR01=F7-KEB200_ProfiSafeIn | Safety I/O | "ASSA Abloy-Rapid Protect Safety Input" | %I20050.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+MSR02=F7-KEB201_In | Safety I/O | "ASSA Abloy Rapid Protect Input" | %I20100.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+MSR02=F7-KEB201_ProfiSafeIn | Safety I/O | "ASSA Abloy-Rapid Protect Safety Input" | %I20150.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+010+MSR01=F7-KEB202_ProfiSafeIn | Safety I/O | "ASSA Abloy-Rapid Protect Safety Input" | %I20250.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+010+MSR01=F7-KEB202_In | Safety I/O | "ASSA Abloy Rapid Protect Input" | %I20200.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR01=F7-KEB203_In | Safety I/O | "ASSA Abloy Rapid Protect Input" | %I20300.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR01=F7-KEB203_ProfiSafeIn | Safety I/O | "ASSA Abloy-Rapid Protect Safety Input" | %I20350.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR02=F7-KEB204_ProfiSafeIn | Safety I/O | "ASSA Abloy-Rapid Protect Safety Input" | %I20450.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR02=F7-KEB204_In | Safety I/O | "ASSA Abloy Rapid Protect Input" | %I20400.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+MSR01=F7-KEB200_Out | Safety I/O | "ASSA Abloy Rapid Protect Output" | %Q20000.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+MSR01=F7-KEB200_ProfiSafeOut | Safety I/O | "ASSA Abloy-Rapid Protect Safety Output" | %Q20050.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+MSR02=F7-KEB201_Out | Safety I/O | "ASSA Abloy Rapid Protect Output" | %Q20100.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+MSR02=F7-KEB201_ProfiSafeOut | Safety I/O | "ASSA Abloy-Rapid Protect Safety Output" | %Q20150.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+010+MSR01=F7-KEB202_Out | Safety I/O | "ASSA Abloy Rapid Protect Output" | %Q20200.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+010+MSR01=F7-KEB202_ProfiSafeOut | Safety I/O | "ASSA Abloy-Rapid Protect Safety Output" | %Q20250.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR01=F7-KEB203_Out | Safety I/O | "ASSA Abloy Rapid Protect Output" | %Q20300.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR01=F7-KEB203_ProfiSafeOut | Safety I/O | "ASSA Abloy-Rapid Protect Safety Output" | %Q20350.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR02=F7-KEB204_Out | Safety I/O | "ASSA Abloy Rapid Protect Output" | %Q20400.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+020+MSR02=F7-KEB204_ProfiSafeOut | Safety I/O | "ASSA Abloy-Rapid Protect Safety Output" | %Q2801.0 | ASSA Abloy Rapid Protect Input | False | False | False
+259+021+R01=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I10050.0 | NGAC Safety Inputs | False | False | False
+259+020+R01=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I10550.0 | NGAC Safety Inputs | False | False | False
+259+020+R02=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I11050.0 | NGAC Safety Inputs | False | False | False
+259+020+R04=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I12050.0 | NGAC Safety Inputs | False | False | False
+259+020+R05=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I12550.0 | NGAC Safety Inputs | False | False | False
+259+020+R06=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I13050.0 | NGAC Safety Inputs | False | False | False
+259+020+R07=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I13550.0 | NGAC Safety Inputs | False | False | False
+259+020+R08=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I14050.0 | NGAC Safety Inputs | False | False | False
+259+020+R01=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q10562.0 | NGAC Safety Outputs | False | False | False
+259+020+R02=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q11062.0 | NGAC Safety Outputs | False | False | False
+259+020+R04=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q12062.0 | NGAC Safety Outputs | False | False | False
+259+020+R05=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q12562.0 | NGAC Safety Outputs | False | False | False
+259+020+R06=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q13062.0 | NGAC Safety Outputs | False | False | False
+259+020+R07=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q13562.0 | NGAC Safety Outputs | False | False | False
+259+020+R08=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q14062.0 | NGAC Safety Outputs | False | False | False
+259+021+R01=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q10062.0 | NGAC Safety Outputs | False | False | False
+259+020+R03=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I11550.0 | NGAC Safety Inputs | False | False | False
+259+020+R03=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q11562.0 | NGAC Safety Outputs | False | False | False
+259+020+FD01A=K6-TBA53.1_-XOUT_4 | All | Bool | %Q18350.0 | SAFE TORQUE OFF DESTACO SMART ELECTRIC CLAMPING UNITS & CENTERING PINS 020FD01A | True | True | True
+259+020+FD02A=K6-TBA54.1_-XOUT_4 | All | Bool | %Q18350.1 | SAFE TORQUE OFF DESTACO SMART ELECTRIC CLAMPING UNITS & CENTERING PINS 020FD02A | True | True | True
+259+020+FD03A=K6-TBA56.1_-XOUT_4 | All | Bool | %Q18350.2 | SAFE TORQUE OFF DESTACO SMART ELECTRIC CLAMPING UNITS & CENTERING PINS 020FD03A | True | True | True
+259+020+AS03=S1-SZA-SX4 | HMI | Bool | %I2103.0 | PUSH BUTTON SET +259+020+AS03 | True | True | True
+259+020+AS03=S1-SZA-SX5 | HMI | Bool | %I2104.0 | PUSH BUTTON RESET +259+020+AS03 | True | True | True
+259+020+AS03=S1-SZA-SX2 | HMI | Bool | %I2101.0 | PUSH BUTTON RESET ALARM +259+020+AS03 | True | True | True
+259+020+AS03=S1-SZA-SX3 | HMI | Bool | %I2102.0 | PUSH BUTTON START +259+020+AS03 | True | True | True
+259+020+AS03=S1-SZA-SX1 | HMI | Bool | %I2100.0 | PUSH BUTTON RESET SAFETY OBJECT +259+020+AS03 | True | True | True
+251+040+R01=F7-KFE_In | Safety I/O | "FromABBOmnicore-FDevice" | %I14550.0 | NGAC Safety Inputs | False | False | False
+251+040+R01=F7-KFE_Out | Safety I/O | "ToABBOmnicore-FDevice" | %Q14562.0 | NGAC Safety Outputs | False | False | False
+259+021+ASD01=F7-QQC1.1_LM_FI_SK | Euchner | Bool | %I4350.0 | Door closed and bolt tongue inserted | False | False | False
+259+021+ASD01=F7-QQC1.1_LM_FI_UK | Euchner | Bool | %I4350.1 | Door closed and locked | False | False | False
+259+021+ASD01=F7-QQC1.2_SM_FI_EN | Euchner | Bool | %I4350.2 | Enabling switch | False | False | False
+259+021+ASD01=F7-QQC1.3_SM_FI_ES | Euchner | Bool | %I4350.3 | Emergency stop ok | False | False | False
+259+021+ASD01=F7-QQC1_In | Euchner | "Euchner-LockModuleInput" | %I4310.0 | Lock module | False | False | False
+259+021+ASD01=F7-SZA1_In | Euchner | "Euchner-GatePanelInput" | %I4320.0 | Gate panel | False | False | False
+259+021+AP01=F7-KEC43.2_Out | Euchner | "Euchner-169765_Output" | %Q4300.0 | MBM Diagnostics | False | False | False
+259+021+ASD01=F7-QQC1_Out | Euchner | "Euchner-LockModuleOutput" | %Q4310.0 | Lock module | False | False | False
+259+021+ASD01=F7-SZA1_Out | Euchner | "Euchner-GatePanelOutput" | %Q4320.0 | Gate panel | False | False | False
+259+020+ASD01=F7-QQC1.1_LM_FI_SK | Euchner | Bool | %I4550.0 | Door closed and bolt tongue inserted | False | False | False
+259+020+ASD01=F7-QQC1.1_LM_FI_UK | Euchner | Bool | %I4550.1 | Door closed and locked | False | False | False
+259+020+ASD01=F7-QQC1.2_SM_FI_EN | Euchner | Bool | %I4550.2 | Enabling switch | False | False | False
+259+020+ASD01=F7-QQC1.3_SM_FI_ES | Euchner | Bool | %I4550.3 | Emergency stop ok | False | False | False
+259+020+ASD02=F7-QQC1.1_LM_FI_SK | Euchner | Bool | %I4480.0 | Door closed and bolt tongue inserted | False | False | False
+259+020+ASD02=F7-QQC1.1_LM_FI_UK | Euchner | Bool | %I4480.1 | Door closed and locked | False | False | False
+259+020+ASD02=F7-QQC1.2_SM_FI_EN | Euchner | Bool | %I4480.2 | Enabling switch | False | False | False
+259+020+ASD02=F7-QQC1.3_SM_FI_ES | Euchner | Bool | %I4480.3 | Emergency stop ok | False | False | False
+259+020+ASD03=F7-QQC1.1_LM_FI_SK | Euchner | Bool | %I4480.5 | Door closed and bolt tongue inserted | False | False | False
+259+020+ASD03=F7-QQC1.1_LM_FI_UK | Euchner | Bool | %I4480.6 | Door closed and locked | False | False | False
+259+020+ASD03=F7-QQC1.2_SM_FI_EN | Euchner | Bool | %I4480.7 | Enabling switch | False | False | False
+259+020+ASD03=F7-QQC1.3_SM_FI_ES | Euchner | Bool | %I4481.0 | Emergency stop ok | False | False | False
+251+040+ASD01=F7-QQC1.1_LM_FI_SK | Euchner | Bool | %I4750.0 | Door closed and bolt tongue inserted | False | False | False
+251+040+ASD01=F7-QQC1.1_LM_FI_UK | Euchner | Bool | %I4750.1 | Door closed and locked | False | False | False
+251+040+ASD01=F7-QQC1.2_SM_FI_EN | Euchner | Bool | %I4750.2 | Enabling switch | False | False | False
+251+040+ASD01=F7-QQC1.3_SM_FI_ES | Euchner | Bool | %I4750.3 | Emergency stop ok | False | False | False
+259+020+ASD01=F7-QQC1_In | Euchner | "Euchner-LockModuleInput" | %I4510.0 | Lock module | False | False | False
+259+020+ASD01=F7-SZA1_In | Euchner | "Euchner-GatePanelInput" | %I4520.0 | Gate panel | False | False | False
+259+020+AP05=F7-KEC45.2_Out | Euchner | "Euchner-169765_Output" | %Q4500.0 | MBM Diagnostics | False | False | False
+259+020+ASD01=F7-QQC1_Out | Euchner | "Euchner-LockModuleOutput" | %Q4510.0 | Lock module | False | False | False
+259+020+ASD01=F7-SZA1_Out | Euchner | "Euchner-GatePanelOutput" | %Q4520.0 | Gate panel | False | False | False
+259+020+ASD02=F7-QQC1_In | Euchner | "Euchner-LockModuleInput" | %I4410.0 | Lock module | False | False | False
+259+020+ASD02=F7-SZA1_In | Euchner | "Euchner-GatePanelInput" | %I4420.0 | Gate panel | False | False | False
+259+020+AP04=F7-KEC44.2_Out | Euchner | "Euchner-169765_Output" | %Q4400.0 | MBM Diagnostics | False | False | False
+259+020+ASD02=F7-QQC1_Out | Euchner | "Euchner-LockModuleOutput" | %Q4410.0 | Lock module | False | False | False
+259+020+ASD02=F7-SZA1_Out | Euchner | "Euchner-GatePanelOutput" | %Q4420.0 | Gate panel | False | False | False
+259+020+ASD03=F7-QQC1_In | Euchner | "Euchner-LockModuleInput" | %I4440.0 | Lock module | False | False | False
+259+020+ASD03=F7-SZA1_In | Euchner | "Euchner-GatePanelInput" | %I4450.0 | Gate panel | False | False | False
+259+020+ASD03=F7-QQC1_Out | Euchner | "Euchner-LockModuleOutput" | %Q4440.0 | Lock module | False | False | False
+259+020+ASD03=F7-SZA1_Out | Euchner | "Euchner-GatePanelOutput" | %Q4450.0 | Gate panel | False | False | False
+259+020+ASD04=F7-QQC1_In | Euchner | "Euchner-LockModuleInput" | %I4610.0 | Lock module | False | False | False
+259+020+ASD04=F7-SZA1_In | Euchner | "Euchner-GatePanelInput" | %I4620.0 | Gate panel | False | False | False
+259+020+AP06=F7-KEC46.2_Out | Euchner | "Euchner-169765_Output" | %Q4600.0 | MBM Diagnostics | False | False | False
+259+020+ASD04=F7-QQC1_Out | Euchner | "Euchner-LockModuleOutput" | %Q4610.0 | Lock module | False | False | False
+259+020+ASD04=F7-SZA1_Out | Euchner | "Euchner-GatePanelOutput" | %Q4620.0 | Gate panel | False | False | False
+251+040+ASD01=F7-QQC1_In | Euchner | "Euchner-LockModuleInput" | %I4710.0 | Lock module | False | False | False
+251+040+ASD01=F7-SZA1_In | Euchner | "Euchner-GatePanelInput" | %I4720.0 | Gate panel | False | False | False
+251+040+AP01=F7-KEC47.2_Out | Euchner | "Euchner-169765_Output" | %Q4700.0 | MBM Diagnostics | False | False | False
+251+040+ASD01=F7-QQC1_Out | Euchner | "Euchner-LockModuleOutput" | %Q4710.0 | Lock module | False | False | False
+251+040+ASD01=F7-SZA1_Out | Euchner | "Euchner-GatePanelOutput" | %Q4720.0 | Gate panel | False | False | False
+259+021+FD01A=F7-BGG37_In | Safety I/O | "MicroScan3ToPLC" | %I3750.0 | Scanner | False | False | False
+259+021+FD01A=F7-BGG37_Out | Safety I/O | "MicroScan3FromPLC" | %Q3750.0 | Scanner | False | False | False
+259+021+FD02A=F7-BGG38_In | Safety I/O | "MicroScan3ToPLC" | %I3850.0 | Scanner | False | False | False
+259+021+FD02A=F7-BGG38_Out | Safety I/O | "MicroScan3FromPLC" | %Q3850.0 | Scanner | False | False | False
#NAME? | Safety I/O | "MicroScan3ToPLC" | %I3950.0 | Scanner | False | False | False
+259+020+FD01A=F7-BGG39_Out | Safety I/O | "MicroScan3FromPLC" | %Q3950.0 | Scanner | False | False | False
+259+020+FD03A=F7-BGG40_In | Safety I/O | "MicroScan3ToPLC" | %I4050.0 | Scanner | False | False | False
+259+020+FD03A=F7-BGG40_Out | Safety I/O | "MicroScan3FromPLC" | %Q4050.0 | Scanner | False | False | False
+259+020+FD03A=F7-BGG41_In | Safety I/O | "MicroScan3ToPLC" | %I4150.0 | Scanner | False | False | False
+259+020+FD03A=F7-BGG41_Out | Safety I/O | "MicroScan3FromPLC" | %Q4150.0 | Scanner | False | False | False
+259+021+AS30=S2-SZA1_In | Euchner | "Euchner-OpPanelInputLH" | %I4330.0 | Operator panel | False | False | False
+259+021+AS31=S2-SZA1_In | Euchner | "Euchner-OpPanelInputRH" | %I4340.0 | Operator panel | False | False | False
+259+021+AS30=S2-SZA1_Out | Euchner | "Euchner-OpPanelOutputLH" | %Q4330.0 | Operator panel | False | False | False
+259+021+AS31=S2-SZA1_Out | Euchner | "Euchner-OpPanelOutputRH" | %Q4340.0 | Operator panel | False | False | False
+259+020+AS30=S2-SZA1_In | Euchner | "Euchner-OpPanelInputLH" | %I4430.0 | Operator panel | False | False | False
+259+020+AS31=S2-SZA1_In | Euchner | "Euchner-OpPanelInputLH" | %I4460.0 | Operator panel | False | False | False
+259+020+AS30=S2-SZA1_Out | Euchner | "Euchner-OpPanelOutputLH" | %Q4430.0 | Operator panel | False | False | False
+259+020+AS31=S2-SZA1_Out | Euchner | "Euchner-OpPanelOutputLH" | %Q4460.0 | Operator panel | False | False | False
+259+020+ASD04=F7-QQC1.1_LM_FI_SK | Euchner | Bool | %I4650.0 | Door closed and bolt tongue inserted | False | False | False
+259+020+ASD04=F7-QQC1.1_LM_FI_UK | Euchner | Bool | %I4650.1 | Door closed and locked | False | False | False
+259+020+ASD04=F7-QQC1.2_SM_FI_EN | Euchner | Bool | %I4650.2 | Enabling switch | False | False | False
+259+020+ASD04=F7-QQC1.3_SM_FI_ES | Euchner | Bool | %I4650.3 | Emergency stop ok | False | False | False
+259+020+AS03=F9-SGC1 | HMI | Bool | %I2150.0 | E-STOP PUSH BUTTON +259+020+AS03 CH1 | True | True | True
+251+040+AS01=F9-SGC1 | HMI | Bool | %I2250.0 | E-STOP PUSH BUTTON +251+040+AS01 CH1 | True | True | True
+251+040+AS02=F9-SGC1_12 | HMI | Bool | %I19350.3 | E-STOP PUSH BUTTON +251+040+AS02 CH1 | True | True | True
+251+040+AS02=F9-SGC1_22 | HMI | Bool | %I19350.7 | E-STOP PUSH BUTTON +251+040+AS02 CH2 | True | True | True
+251+040+AS01=S1-SZA-SX6 | HMI | Bool | %I2205.0 | PUSH BUTTON STOP +251+040+AS01 | True | True | True
+259+021+ASD01=F7-QQC1_StatusValue0 | Safety I/O | Word | %IW4351 | Profisafe Status I/O | True | True | True
+259+020+ASD02/03=F7-QQC1_StatusValue0 | Safety I/O | Word | %IW4481 | Profisafe Status I/O | True | True | True
+259+020+ASD04=F7-QQC1_StatusValue0 | Safety I/O | Word | %IW4651 | Profisafe Status I/O | True | True | True
+251+040+ASD01=F7-QQC1_StatusValue0 | Safety I/O | Word | %IW4751 | Profisafe Status I/O | True | True | True
+259+021+AS30=S2-SZA1.4_SM_FI_ES | Euchner | Bool | %I4350.4 | Emergency stop ok | False | False | False
+259+021+AS31=S2-SZA1.4_SM_FI_ES | Euchner | Bool | %I4350.5 | Emergency stop ok | False | False | False
+259+020+AS30=S2-SZA1.4_SM_FI_ES | Euchner | Bool | %I4480.4 | Emergency stop ok | False | False | False
+259+020+AS31=S2-SZA1.4_SM_FI_ES | Euchner | Bool | %I4481.1 | Emergency stop ok | False | False | False
+251+040+AS30=S2-SZA1.4_SM_FI_ES | Euchner | Bool | %I4750.4 | Emergency stop ok | False | False | False
+259+010+AS30=S2-SZA1.4_SM_FI_ES | Euchner | Bool | %I4750.5 | Emergency stop ok | False | False | False
+259+001+AK01=W1-QAB2_14 | AK01 | Bool | %I17100.2 | FEEDBACK CIRCUIT BREAKER 24VDC POWER SUPPLY | True | True | True
+259+001+AK01=W1-QAB3_14 | AK01 | Bool | %I17100.3 | FEEDBACK CIRCUIT BREAKER DRIVES +259+010+CRC01 | True | True | True
+259+001+AK01=W1-QAB4_14 | AK01 | Bool | %I17100.4 | FEEDBACK CIRCUIT BREAKER ROLLER GATE +259+010+MSR01 | True | True | True
+259+001+AK01=W1-QAB5_14 | AK01 | Bool | %I17100.5 | FEEDBACK CIRCUIT BREAKER ROLLER GATE +259+021+MSR01 | True | True | True
+259+001+AK01=W1-QAB6_14 | AK01 | Bool | %I17100.6 | FEEDBACK CIRCUIT BREAKER ROLLER GATE +259+021+MSR02 | True | True | True
+259+001+AK01=W1-QAB7_14 | AK01 | Bool | %I17100.7 | FEEDBACK CIRCUIT BREAKER Vario-X +259+021+FD01A | True | True | True
+259+001+AK01=W1-QAB8_14 | AK01 | Bool | %I17101.0 | FEEDBACK CIRCUIT BREAKER Vario-X +259+021+FD02A | True | True | True
+259+001+AK01=W1-QAB9_14 | AK01 | Bool | %I17101.1 | FEEDBACK CIRCUIT BREAKER 24VDC ROLLER GATE +259+020+MSR01 | True | True | True
+259+001+AK01=W1-QAB10_14 | AK01 | Bool | %I17101.2 | FEEDBACK CIRCUIT BREAKER 24VDC ROLLER GATE +259+020+MSR02 | True | True | True
+259+001+AK01=W1-QAB11_14 | AK01 | Bool | %I17101.3 | FEEDBACK CIRCUIT BREAKER 24VDC Vario-X +259+020+FD01A | True | True | True
+259+001+AK01=W1-QAB12_14 | AK01 | Bool | %I17101.4 | FEEDBACK CIRCUIT BREAKER 24VDC Vario-X +259+020+FD02A | True | True | True
+259+001+AK01=W1-QAB13_14 | AK01 | Bool | %I17101.5 | FEEDBACK CIRCUIT BREAKER 24VDC Vario-X +259+020+FD02A | True | True | True
+259+001+AK01=W1-QAB14_14 | AK01 | Bool | %I17101.6 | FEEDBACK CIRCUIT BREAKER 24VDC Vario-X +259+020+FD03A | True | True | True
+259+001+AK01=W1-QAB15_14 | AK01 | Bool | %I17101.7 | FEEDBACK CIRCUIT BREAKER 24VDC Vario-X +259+020+FD03A | True | True | True
+259+001+AK01=W1-QAB16_14 | AK01 | Bool | %I17200.0 | FEEDBACK CIRCUIT BREAKER APC MOVIMOT +259+020+CA01 | True | True | True
+259+001+AK01=W1-QAB17_14 | AK01 | Bool | %I17200.1 | FEEDBACK CIRCUIT BREAKER FESTO CMMT +259+020+AK02 | True | True | True
+259+001+AK01=W2-FCB1_14 | AK01 | Bool | %I17200.2 | FEEDBACK CIRCUIT BREAKER 24VDC POWER SUPPLY +259+001 | True | True | True
+259+001+AK01=W2-FCB2_14 | AK01 | Bool | %I17200.3 | FEEDBACK CIRCUIT BREAKER 24VDC POWER SUPPLY +259+021 | True | True | True
+259+001+AK01=W2-FCB3_14 | AK01 | Bool | %I17200.4 | FEEDBACK CIRCUIT BREAKER 24VDC POWER SUPPLY +259+020 | True | True | True
+259+001+AK01=W2-FCB4_14 | AK01 | Bool | %I17200.5 | FEEDBACK CIRCUIT BREAKER 24VDC POWER SUPPLY +259+020 | True | True | True
+259+001+AK01=W2-FCB5_14 | AK01 | Bool | %I17200.6 | FEEDBACK CIRCUIT BREAKER 24VDC POWER SUPPLY +259+020 | True | True | True
+259+001+AK01=W2-FCB6_14 | AK01 | Bool | %I17200.7 | FEEDBACK CIRCUIT BREAKER 24VDC POWER SUPPLY +259+040 | True | True | True
+251+040+AP03=-KHB1_V1_1 | Safety I/O | Bool | %Q19350.0 | AIR SUPPLY +251+040 VALVE 1 | True | True | True
+251+040+AP03=-KHB1_V2_1 | Safety I/O | Bool | %Q19350.1 | AIR SUPPLY +251+040 VALVE 2 | True | True | True
+251+040+AP03=F7-BPB1_CN1_4 | Safety I/O | Bool | %I19350.2 | PRESSURE SWITCH AIR OK | True | True | True
+251+040+AP03=F7-BPB1_CN1_2 | Safety I/O | Bool | %I19350.6 | PRESSURE SWITCH AIR OK | True | True | True
+251+040+AP03=-KHB1_S1_2 | Safety I/O | Bool | %I19350.0 | FEEDBACK AIR SUPPLY +251+040 VALVE 1 (CH 1) | True | True | True
+251+040+AP03=-KHB1_S1_4 | Safety I/O | Bool | %I19350.4 | FEEDBACK AIR SUPPLY +251+040 VALVE 1 (CH 2) | True | True | True
+251+040+AP03=-KHB1_S2_2 | Safety I/O | Bool | %I19350.1 | FEEDBACK AIR SUPPLY +251+040 VALVE 2 (CH 1) | True | True | True
+251+040+AP03=-KHB1_S2_4 | Safety I/O | Bool | %I19350.5 | FEEDBACK AIR SUPPLY +251+040 VALVE 2 (CH 2) | True | True | True
+251+020+AP11=-KHB1_V1_1 | Safety I/O | Bool | %Q19150.0 | AIR SUPPLY +259+020 VALVE 1 | True | True | True
+251+020+AP11=-KHB1_V2_1 | Safety I/O | Bool | %Q19150.1 | AIR SUPPLY +259+020 VALVE 2 | True | True | True
+259+020+AP11=F7-BPB1_CN1_4 | Safety I/O | Bool | %I19150.2 | PRESSURE SWITCH AIR OK | True | True | True
+259+020+AP11=F7-BPB1_CN1_2 | Safety I/O | Bool | %I19150.6 | PRESSURE SWITCH AIR OK | True | True | True
+259+020+AP11=-KHB1_S1_2 | Safety I/O | Bool | %I19150.0 | FEEDBACK AIR SUPPLY +259+020 VALVE 1 (CH 1) | True | True | True
+259+020+AP11=-KHB1_S1_4 | Safety I/O | Bool | %I19150.4 | FEEDBACK AIR SUPPLY +259+020 VALVE 1 (CH 2) | True | True | True
+259+020+AP11=-KHB1_S2_2 | Safety I/O | Bool | %I19150.1 | FEEDBACK AIR SUPPLY +259+020 VALVE 2 (CH 1) | True | True | True
+259+020+AP11=-KHB1_S2_4 | Safety I/O | Bool | %I19150.5 | FEEDBACK AIR SUPPLY +259+020 VALVE 2 (CH 2) | True | True | True
+251+021+AP05=-KHB1_V1_1 | Safety I/O | Bool | %Q17450.2 | AIR SUPPLY +259+021 VALVE 1 | True | True | True
+251+021+AP05=-KHB1_V2_1 | Safety I/O | Bool | %Q17450.3 | AIR SUPPLY +259+021 VALVE 2 | True | True | True
+259+021+AP05=F7-BPB1_CN1_4 | Safety I/O | Bool | %I17450.2 | PRESSURE SWITCH AIR OK | True | True | True
+259+021+AP05=F7-BPB1_CN1_2 | Safety I/O | Bool | %I17450.6 | PRESSURE SWITCH AIR OK | True | True | True
+259+021+AP05=-KHB1_S1_2 | Safety I/O | Bool | %I17450.0 | FEEDBACK AIR SUPPLY +259+021 VALVE 1 (CH 1) | True | True | True
+259+021+AP05=-KHB1_S2_2 | Safety I/O | Bool | %I17450.1 | FEEDBACK AIR SUPPLY +259+021 VALVE 2 (CH 1) | False | True | True
F17450_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW17451 | Profisafe Status I/O | True | True | True
F19151_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW19151 | Profisafe Status I/O | True | True | True
F19351_F-DI8x24VDCHF_StatusValue0 | Safety I/O | Word | %IW19351 | Profisafe Status I/O | True | True | True
+259+021+AS01=S1-SZA-SX5 | HMI | Bool | %I1804.0 | PUSH BUTTON RESET +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-SX6 | HMI | Bool | %I1805.0 | PUSH BUTTON STOP +259+021+AS01 | True | True | True
+259+021+AS01=S1-SZA-SX7L | HMI | Bool | %I1806.0 | KEY SWITCH FORCE (Left) | False | False | False
+259+021+AS01=S1-SZA-SX7R | HMI | Bool | %I1806.1 | KEY SWITCH FORCE (Right) | False | False | False
+259+020+AS01=S1-SZA-SX6 | HMI | Bool | %I1905.0 | PUSH BUTTON STOP +259+020+AS01 | True | True | True
+259+020+AS01=S1-SZA-SX7L | HMI | Bool | %I1906.0 | FORCE KEY LEFT | True | True | True
+259+020+AS01=S1-SZA-SX7R | HMI | Bool | %I1906.1 | FORCE KEY RIGHT | True | True | True
+259+020+AS03=S1-SZA-SX6 | HMI | Bool | %I2105.0 | PUSH BUTTON STOP +259+020+AS03 | True | True | True
+259+020+AS03=S1-SZA-SX7L | HMI | Bool | %I2106.0 | FORCE KEY LEFT | True | True | True
+259+020+AS03=S1-SZA-SX7R | HMI | Bool | %I2106.1 | FORCE KEY RIGHT | True | True | True
+259+020+AS02=S1-SZA-SX7L | HMI | Bool | %I2006.0 | FORCE KEY LEFT | True | True | True
+259+020+AS02=S1-SZA-SX7R | HMI | Bool | %I2006.1 | FORCE KEY RIGHT | True | True | True
+259+020+AS02=S1-SZA-SX6 | HMI | Bool | %I2005.0 | PUSH BUTTON STOP +259+020+AS02 | True | True | True
+259+010+FM01=B0-BGB1_4 | All | Bool | %I18000.0 | DETECT CARPART | True | True | True
+259+010+FM01=B0-BGB2_4 | All | Bool | %I18000.2 | DETECT CARPART | True | True | True
+251+040+FQ01=B0-BGB1_4 | Take Out | Bool | %I6302.0 | DETECT CAR PART V436 | True | True | True
+251+040+FQ01=B0-BGB2_4 | Take Out | Bool | %I6350.0 | QUALITY OUTLET FQ01 DETECT THE POSITION OF TROLLEY, CHANNEL 1 251+040+FQ01 | True | True | True
+251+040+FQ01=B0-BGB3_4 | Take Out | Bool | %I6302.2 | CHECK THE TROLLEY IS ON THE OUTSIDE V436 | True | True | True
+251+040+FQ01=B0-BGB4_4 | Take Out | Bool | %I6302.4 | CHECK THE TROLLEY IS ON THE INSIDE V436 | True | True | True
+251+040+FQ01=M1-MM1-BGB2 | Take Out | Bool | %I6300.3 | CLAMP OPENED UNIT M1-MM1 | True | True | True
+251+040+FQ01=M1-MM1-BGB1 | Take Out | Bool | %I6300.2 | CLAMP CLOSED UNIT M1-MM1 | True | True | True
+251+040+FQ01=M2-MM1-BGB1 | Take Out | Bool | %I6300.4 | CLAMP CLOSED UNIT M2-MM1 | True | True | True
+251+040+FQ01=M2-MM1-BGB2 | Take Out | Bool | %I6300.5 | CLAMP OPENED UNIT M2-MM1 | True | True | True
+251+040+FQ01=M2-MM2-BGB1 | Take Out | Bool | %I6300.6 | CLAMP CLOSED UNIT M2-MM2 | True | True | True
+251+040+FQ01=M2-MM2-BGB2 | Take Out | Bool | %I6300.7 | CLAMP OPENED UNIT M2-MM2 | True | True | True
+251+040+FQ01=M2-MM3-BGB2 | Take Out | Bool | %I6301.1 | CLAMP OPENED UNIT M2-MM3 | True | True | True
+251+040+FQ01=M2-MM3-BGB1 | Take Out | Bool | %I6301.0 | CLAMP CLOSED UNIT M2-MM3 | True | True | True
+251+040+FQ01=M2-MM4-BGB1 | Take Out | Bool | %I6301.2 | CLAMP CLOSED UNIT M2-MM4 | True | True | True
+251+040+FQ01=M2-MM4-BGB2 | Take Out | Bool | %I6301.3 | CLAMP OPENED UNIT M2-MM4 | True | True | True
+251+040+FQ01=M2-MM5-BGB2 | Take Out | Bool | %I6301.5 | CLAMP OPENED UNIT M2-MM5 | True | True | True
+251+040+FQ01=M2-MM5-BGB1 | Take Out | Bool | %I6301.4 | CLAMP CLOSED UNIT M2-MM5 | True | True | True
+251+040+FQ01=M1-MBB1 | Take Out | Bool | %Q6300.0 | CLAMP CLOSED UNIT M1 | True | True | True
+251+040+FQ01=M1-MBB2 | Take Out | Bool | %Q6300.1 | CLAMP OPENED UNIT M1 | True | True | True
+251+040+FQ01=M2-MBB1 | Take Out | Bool | %Q6300.2 | CLAMP CLOSED UNIT M2 | True | True | True
+251+040+FQ01=M2-MBB2 | Take Out | Bool | %Q6300.3 | CLAMP OPENED UNIT M2 | True | True | True
+251+040+AS30=S2-SZA1_In | Euchner | "Euchner-OpPanelInputLH" | %I4730.0 | Operator panel | False | False | False
+251+040+AS30=S2-SZA1_Out | Euchner | "Euchner-OpPanelOutputLH" | %Q4730.0 | Operator panel | False | False | False
+259+020+FM01=M1-MM1-BGB2 | All | Bool | %I6100.3 | CLAMP OPENED UNIT M1-MM1 | True | True | True
+259+020+FM01=M1-MM1-BGB1 | All | Bool | %I6100.2 | CLAMP CLOSED UNIT M1-MM1 | True | True | True
+259+020+FM01=M1-MBB1 | All | Bool | %Q6100.0 | CLAMP CLOSED UNIT M1 | True | True | True
+259+020+FM01=M1-MBB2 | All | Bool | %Q6100.1 | CLAMP OPENED UNIT M1 | True | True | True
+251+040+FQ01=K5-KFE63.1_4 | Take Out | Bool | %I6300.0 | FEEDBACK PILOT AIR | True | True | True
+251+040+FQ01=K5-KHB63.1 | Take Out | Bool | %Q6350.1 | COMMAND PILOT AIR VALVE | True | True | True
+251+040+FQ01=K5-KFE63.0 | Take Out | Bool | %Q6350.0 | POWER SUPPLY IO MODULE | True | True | True
+251+040+FQ01=K5-KFE63.2 | Take Out | Bool | %Q6350.2 | POWER SUPPLY VALVE ZONE 2 | True | True | True
+251+040+FQ01=K5-KFE63.3 | Take Out | Bool | %Q6350.3 | POWER SUPPLY ZONE 3 | True | True | True
+259+020+FM01=K5-KFE61.1_4 | All | Bool | %I6100.0 | FEEDBACK PILOT AIR | True | True | True
+259+020+FM01=K5-KHB61.1 | All | Bool | %Q6150.1 | COMMAND PILOT AIR VALVE | True | True | True
+259+020+FM01=K5-KFE61.0 | All | Bool | %Q6150.0 | POWER SUPPLY IO MODULE | True | True | True
+259+020+FM01=K5-KFE61.2 | All | Bool | %Q6150.2 | POWER SUPPLY VALVE ZONE 2 | True | True | True
+259+020+FM01=K5-KFE61.3 | All | Bool | %Q6150.3 | POWER SUPPLY VALVE ZONE 3 | True | True | True
+251+040+AP02=W5-TBA1_-IOL_4 | AK01 | Bool | %I19200.0 | IO-LINK POWER SUPPLY | True | True | True
+259+020+CG01=B0-BGB1_4 | All | Bool | %I17800.0 | DETECT CARPART | True | True | True
+259+021+ASD01=F7-QQC1.1_LM_FO_CL | Safety I/O | Bool | %Q4350.0 | Guard lock release | False | False | False
+259+020+ASD04=F7-QQC1.1_LM_FO_CL | Safety I/O | Bool | %Q4650.0 | Guard lock release | False | False | False
+259+020+ASD03=F7-QQC1.1_LM_FO_CL | Safety I/O | Bool | %Q4480.1 | Guard lock release | False | False | False
+259+020+ASD02=F7-QQC1.1_LM_FO_CL | Safety I/O | Bool | %Q4480.0 | Guard lock release | False | False | False
+259+020+ASD01=F7-QQC1.1_LM_FO_CL | Safety I/O | Bool | %Q4550.1 | Guard lock release | False | False | False
+251+040+ASD01=F7-QQC1.1_LM_FO_CL | Safety I/O | Bool | %Q4750.0 | Guard lock release | False | False | False
+251+002+AE01_In | PNPN I/O | "PNPN" | %I30181.0 | PN Interface In | True | True | True
+251+002+AE01_Out | PNPN I/O | "PNPN" | %Q30181.0 | PN Interface Out | True | True | True
+259+020+FTJG02A=B0-BGB1_4 | All | Bool | %I18100.2 | DETECT CARPART | True | True | True
+259+010+AS30=S2-SZA1_In | Euchner | "Euchner-OpPanelInputLH" | %I4740.0 | Operator panel | False | False | False
+259+010+AS30=S2-SZA1_Out | Euchner | "Euchner-OpPanelOutputLH" | %Q4740.0 | Operator panel | False | False | False
+251+040+FQ01=B0-BGB2_2 | Take Out | Bool | %I6350.4 | QUALITY OUTLET FQ01 DETECT THE POSITION OF TROLLEY, CHANNEL 2 251+040+FQ01 | True | True | True
+251+040+FQ01=B0-BGB5_4 | Take Out | Bool | %I6302.6 | CHECK THE LOCKING PIN IN THE CORRECT POSITION V436 | True | True | True
+259+010+AX01=F9-KFA1_X2 | Rack Changer | Bool | %I17950.0 | FEEDBACK SAFETY RELAY EMERGENCY STOP | True | True | True
+259+010+AX01=F7-KFA1_X2 | Rack Changer | Bool | %I17950.4 | FEEDBACK SAFETY RELAY PROTECTIVE TOP | True | True | True
+259+010+AX01=F7-BRB3_2 | Rack Changer | Bool | %I17956.2 | TURN TABLE LOCK PIN F7-BRB3_1 | True | True | True
+259+010+AX01=F7-BGB23_4 | Rack Changer | Bool | %I17956.4 | TURN TABLE IN POSITION SIDE B F7-BGB23_2 | True | True | True
+259+010+AX01=F9-KFA1_A1 | Rack Changer | Bool | %Q17962.0 | EMERGENCY STOP RELAY F9-KFA1 | True | True | True
+259+010+AX01=F7-KFA1_A1 | Rack Changer | Bool | %Q17962.1 | SAFETY STOP RELAY F7-KFA1 | True | True | True
+259+010+CRC01=B0-BGB66_4 | Rack Changer | Bool | %I19500.0 | MAINTENANCE LOCK PIN DETECTION RH | True | True | True
+259+010+CRC01=B0-BGB67_4 | Rack Changer | Bool | %I19500.1 | MAINTENANCE LOCK PIN DETECTION RH | True | True | True
+259+010+CRC01=B0-BGB68_4 | Rack Changer | Bool | %I19500.2 | MAINTENANCE LOCK PIN DETECTION RH | True | True | True
+259+010+CRC01=B0-BGB69_4 | Rack Changer | Bool | %I19500.3 | MAINTENANCE LOCK PIN DETECTION RH | True | True | True
+259+010+CRC01=B0-BGB70_4 | Rack Changer | Bool | %I19500.4 | MAINTENANCE LOCK PIN DETECTION LH | True | True | True
+259+010+CRC01=B0-BGB71_4 | Rack Changer | Bool | %I19500.5 | MAINTENANCE LOCK PIN DETECTION LH | True | True | True
+259+010+CRC01=B0-BGB72_4 | Rack Changer | Bool | %I19500.6 | MAINTENANCE LOCK PIN DETECTION LH | True | True | True
+259+010+CRC01=B0-BGB73_4 | Rack Changer | Bool | %I19500.7 | MAINTENANCE LOCK PIN DETECTION LH | True | True | True
+259+010+CRC01=B0-BGB65_4 | Rack Changer | Bool | %I19501.0 | RACK PRESENT ON LIFTER | True | True | True
+259+010+CRC01=K5-KHB64.1_4 | Rack Changer | Bool | %I6400.0 | FEEDBACK PILOT AIR | True | True | True
+259+010+CRC01=M10-BGB1_4 | Rack Changer | Bool | %I6400.2 | TURN TABLE UNLOCKED UNIT M10-MM1 | True | True | True
+259+010+CRC01=M10-BGB2_4 | Rack Changer | Bool | %I6400.3 | TURN TABLE LOCKED UNIT M10-MM1 | True | True | True
+259+010+CRC01=M11-BGB1_4 | Rack Changer | Bool | %I6400.4 | HORSE SHOE RH OPEN UNIT M11-MM1 | True | True | True
+259+010+CRC01=M11-BGB2_4 | Rack Changer | Bool | %I6400.5 | HORSE SHOE RH CLOSE UNIT M11-MM1 | True | True | True
+259+010+CRC01=M12-BGB1_4 | Rack Changer | Bool | %I6400.6 | HORSE SHOE LH OPEN UNIT M12-MM1 | True | True | True
+259+010+CRC01=M12-BGB2_4 | Rack Changer | Bool | %I6400.7 | HORSE SHOE LH CLOSE UNIT M12-MM1 | True | True | True
+259+010+CRC01=B0-BGB31_4 | Rack Changer | Bool | %I19600.0 | SLOW SPEED SIDE A | True | True | True
+259+010+CRC01=B0-BGB32_4 | Rack Changer | Bool | %I19600.1 | RACK PRESENT SIDE A | True | True | True
+259+010+CRC01=B0-BGB33_4 | Rack Changer | Bool | %I19600.2 | RACK PRESENT SIDE A | True | True | True
+259+010+CRC01=B0-BGB34_4 | Rack Changer | Bool | %I19600.4 | RACK TYPE 1 SIDE A | True | True | True
+259+010+CRC01=B0-BGB35_4 | Rack Changer | Bool | %I19600.5 | RACK TYPE 2 SIDE A | True | True | True
+259+010+CRC01=B0-BGB36_4 | Rack Changer | Bool | %I19600.6 | RACK TYPE 3 SIDE A | True | True | True
+259+010+CRC01=B0-BGB37_4 | Rack Changer | Bool | %I19600.7 | RACK TYPE 4 SIDE A | True | True | True
+259+010+CRC01=B0-BGB38_4 | Rack Changer | Bool | %I19601.0 | RACK EMPTY SIDE A | True | True | True
+259+010+CRC01=B0-BGB39_4 | Rack Changer | Bool | %I19601.1 | RACK FULL SIDE A | True | True | True
+259+010+CRC01=B0-BGB41_4 | Rack Changer | Bool | %I19700.0 | SLOW SPEED SIDE B | True | True | True
+259+010+CRC01=B0-BGB42_4 | Rack Changer | Bool | %I19700.1 | RACK PRESENT SIDE B | True | True | True
+259+010+CRC01=B0-BGB43_4 | Rack Changer | Bool | %I19700.2 | RACK PRESENT SIDE B | True | True | True
+259+010+CRC01=B0-BGB44_4 | Rack Changer | Bool | %I19700.4 | RACK TYPE 1 SIDE B | True | True | True
+259+010+CRC01=B0-BGB45_4 | Rack Changer | Bool | %I19700.5 | RACK TYPE 2 SIDE B | True | True | True
+259+010+CRC01=B0-BGB46_4 | Rack Changer | Bool | %I19700.6 | RACK TYPE 3 SIDE B | True | True | True
+259+010+CRC01=B0-BGB47_4 | Rack Changer | Bool | %I19700.7 | RACK TYPE 4 SIDE B | True | True | True
+259+010+CRC01=B0-BGB48_4 | Rack Changer | Bool | %I19701.0 | RACK EMPTY SIDE B | True | True | True
+259+010+CRC01=B0-BGB49_4 | Rack Changer | Bool | %I19701.1 | RACK FULL SIDE B | True | True | True
+259+010+CRC01=M10-MBB1 | Rack Changer | Bool | %Q6402.0 | TURN TABLE UNLOCKED UNIT M10 | True | True | True
+259+010+CRC01=M10-MBB2 | Rack Changer | Bool | %Q6402.1 | TURN TABLE LOCKED UNIT M10 | True | True | True
+259+010+CRC01=M11-MBB1 | Rack Changer | Bool | %Q6403.0 | HORSE SHOE RH OPEN UNIT M11 | True | True | True
+259+010+CRC01=M11-MBB2 | Rack Changer | Bool | %Q6403.1 | HORSE SHOE RH CLOSE UNIT M11 | True | True | True
+259+010+CRC01=M12-MBB1 | Rack Changer | Bool | %Q6404.0 | HORSE SHOE LH OPEN UNIT M12 | True | True | True
+259+010+CRC01=M12-MBB2 | Rack Changer | Bool | %Q6404.1 | HORSE SHOE LH CLOSE UNIT M12 | True | True | True
+259+010+CRC01=K5-KHB64.1 | Rack Changer | Bool | %Q6450.1 | COMMAND PILOT AIR VALVE | True | True | True
+259+001+AP01=W5-TBA1_-IOL_4 | AK01 | Bool | %I17000.0 | IO-LINK POWER SUPPLY | True | True | True
+259+020+AP07=W5-TBA1_-IOL_4 | AK01 | Bool | %I18100.0 | IO-LINK POWER SUPPLY | True | True | True
+259+020+AP08=W5-TBA1_-IOL_4 | AK01 | Bool | %I18200.0 | IO-LINK POWER SUPPLY | True | True | True
+259+020+AP10=W5-TBA1_-IOL_4 | AK01 | Bool | %I18700.0 | IO-LINK POWER SUPPLY | True | True | True
+259+021+AP02=W5-TBA1_-IOL_4 | AK01 | Bool | %I17300.0 | IO-LINK POWER SUPPLY | True | True | True
+259+001+AP01=W5-TBA1_-IOL_2 | AK01 | Bool | %I17000.1 | SPARE | True | True | True
+259+001+AE01=W5-TCB1_Uin OK_13 | AK01 | Bool | %I17000.2 | FEEDBACK BUFFER MODULE +259+AE01 | True | True | True
+259+001+AK01=W1-FAD1_12 | AK01 | Bool | %I17100.0 | FEEDBACK SURGE PROTECTION | True | True | True
+259+021+AP02=W5-TBA1_-IOL_2 | All | Bool | %I17300.1 | Spare | True | True | True
+259+020+AP07=W5-TBA1_-IOL_2 | All | Bool | %I18100.1 | SPARE | True | True | True
+259+020+AP08=W5-TBA1_-IOL_2 | All | Bool | %I18200.1 | SPARE | True | True | True
+259+020+AP10=W5-TBA1_-IOL_2 | All | Bool | %I18700.1 | SPARE | True | True | True
+251+040+AP02=W5-TBA1_-IOL_2 | All | Bool | %I19200.1 | SPARE | True | True | True
+251+020+CCL01=K5-KHB62.1_4 | All | Bool | %I6200.0 | FEEDBACK PILOT AIR | True | True | True
+251+020+CCL01=M1-MM1-BGB1 | All | Bool | %I6200.2 | CLAMP CLOSED UNIT M1-MM1 | True | True | True
+251+020+CCL01=M1-MM1-BGB2 | All | Bool | %I6200.3 | CLAMP CLOSED UNIT M1-MM1 | True | True | True
+251+020+CCL01=M1-MM2-BGB1 | All | Bool | %I6200.4 | CLAMP CLOSED UNIT M1-MM2 | True | True | True
+251+020+CCL01=M1-MM2-BGB2 | All | Bool | %I6200.5 | CLAMP CLOSED UNIT M1-MM2 | True | True | True
+251+020+CCL01=M2-MM1-BGB1 | All | Bool | %I6200.6 | CLAMP CLOSED UNIT M2-MM1 | True | True | True
+251+020+CCL01=M2-MM1-BGB2 | All | Bool | %I6200.7 | CLAMP CLOSED UNIT M2-MM1 | True | True | True
+251+020+CCL01=M2-MM2-BGB1 | All | Bool | %I6201.0 | CLAMP CLOSED UNIT M2-MM2 | True | True | True
+251+020+CCL01=M2-MM2-BGB2 | All | Bool | %I6201.1 | CLAMP CLOSED UNIT M2-MM2 | True | True | True
+259+010+CRC01=M1-BGB13_4 | All | Bool | %I8200.2 | RACK PRESENT ON INTERMEDIATE CONVEYOR | True | True | True
+259+010+CRC01=M2-BGB21_4 | All | Bool | %I8300.0 | SLOW SPEED SIDE A | True | True | True
+259+010+CRC01=M2-BGB22_4 | All | Bool | %I8300.1 | TURN TABLE IN POSITION SIEDE B | True | True | True
+259+010+CRC01=M2-BGB24_4 | All | Bool | %I8300.2 | SLOW SPEED SIDE B | True | True | True
+259+010+CRC01=M2-BGB25_4 | All | Bool | %I8300.3 | TURN TABLE IN POSITION SIDE A | True | True | True
+259+010+CRC01=M4-BGB61_4 | All | Bool | %I8500.0 | LOW SPEED RES (DOWN) | True | True | True
+259+010+CRC01=M4-BGB62_4 | All | Bool | %I8500.1 | LOW SPEED SES (UP) | True | True | True
+259+010+CRC01=M4-BGB63_4 | All | Bool | %I8500.2 | RES DETECTION (DOWN) | True | True | True
+259+010+CRC01=M4-BGB64_4 | All | Bool | %I8500.3 | LIFT POSITIONING UP LH | True | True | True
+251+040+AS02=E1-PFA1_1 | All | Bool | %Q19200.2 | CYCLE STOP | True | True | True
+251+040+AS02=E1-PFA2_1 | All | Bool | %Q19200.3 | EMERGENCY STOP | True | True | True
+259+020+AK02=M1-TAC86_X1A_12 | All | Bool | %Q19450.0 | SAFE TORQUE OFF FESTO CMMT 020FD02A | True | True | True
+259+020+AK02=M1-TAC87_X1A_12 | All | Bool | %Q19450.1 | SAFE TORQUE OFF FESTO CMMT 020FD03A | True | True | True
+259+020+AK02=M1-TAC88_X1A_12 | All | Bool | %Q19450.2 | SAFE TORQUE OFF FESTO CMMT 020FD03A | True | True | True
+259+020+AK02=M1-TAC89_X1A_12 | All | Bool | %Q19450.3 | SAFE TORQUE OFF FESTO CMMT 020FD03A | True | True | True
+251+020+CCL01=M1-MBB1 | All | Bool | %Q6200.0 | CLAMP CLOSED UNIT M1 | True | True | True
+251+020+CCL01=M1-MBB2 | All | Bool | %Q6200.1 | CLAMP OPENED UNIT M1 | True | True | True
+251+020+CCL01=M2-MBB1 | All | Bool | %Q6200.2 | CLAMP CLOSED UNIT M2 | True | True | True
+251+020+CCL01=M2-MBB2 | All | Bool | %Q6200.3 | CLAMP OPENED UNIT M2 | True | True | True
+251+020+CCL01=K5-KHB62.1 | All | Bool | %Q6250.1 | COMMAND PILOT AIR VALVE | True | True | True
+259+010+AX01=F7-BGB26_4 | Rack Changer | Bool | %I17956.5 | TURN TABLE IN POSITION SIDE A F7-BGB26_2 | True | True | True
+259+010+AX01=F7-BGB3_4 | Rack Changer | Bool | %I17956.6 | TURN TABLE LOCK PIN F7-BRB3_2 | True | True | True
+251+040+AS01=S1-SZA-SX7L | HMI | Bool | %I2206.0 | FORCE KEY LEFT | True | True | True
+251+040+AS01=S1-SZA-SX7R | HMI | Bool | %I2206.1 | FORCE KEY RIGHT | True | True | True
+259+020+CA01=B0-BGB13_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7100.6 | MAXIMUM ACCUMULATION | True | True | True
+259+020+CA01=B0-BGB19_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7300.5 | MAXIMUM ACCUMULATION | True | True | True
+259+020+CA01=B0-BGB4_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %Q9000.0 | Chain Lubrication | True | True | True
+259+020+CA01=M1-XDC2_14 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7101.5 | FB MAINTENANCE SWITCH 2 | True | True | True
+259+020+CA01=B0-BGB16_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7300.2 | PALETTE IN PRE-UNLOAD STOPPER | True | True | True
+259+020+CA01=B0-BGB17_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7300.3 | PALETTE IN UNLOAD STOPPER | True | True | True
+259+020+CA01=B0-BRB20_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7300.4 | PART CONTROL UNLOAD AREA | True | True | True
+259+020+CA01=B0-BRB21_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7301.4 | PART CONTROL UNLOAD AREA | True | True | True
+259+020+CA01=B0-BGB18_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7301.3 | PALLET OUT OF INTERFERENCE (unload side) | True | True | True
+259+020+CA01=B0-BGB1_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I9000.0 | MOTOR TORQUE CONTROL | True | True | True
+259+020+CA01=B0-BGB2_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I9000.2 | BROKEN CHAIN CHECK | True | True | True
+259+020+CA01=B0-BGB3_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I9000.3 | CHAIN LENGTH CONTROL | True | True | True
+259+020+CA01=M1-XDC1_14 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7100.5 | FB MAINTENANCE SWITCH 1 | True | True | True
+259+020+CA01=M35-MA1-BGB1_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7100.0 | PRE-LOAD STOPPER RESET | True | True | True
+259+020+CA01=M35-MA1-BGB2_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7101.0 | PRE-LOAD STOPPER SET | True | True | True
+259+020+CA01=M36-MA1-BGB2_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7101.1 | LOAD STOPPER SET | True | True | True
+259+020+CA01=B0-BGB10_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7100.2 | PALETTE IN PRE-LOAD STOPPER | True | True | True
+259+020+CA01=B0-BGB11_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7100.3 | PALETTE IN LOAD STOPPER | True | True | True
+259+020+CA01=B0-BRB14_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7100.4 | PART CONTROL LOAD AREA | True | True | True
+259+020+CA01=B0-BRB15_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7101.4 | PART CONTROL LOAD AREA | True | True | True
+259+020+CA01=B0-BGB12_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7101.3 | PALLET OUT OF INTERFERENCE (load side) | True | True | True
+259+020+CA01=M36-MA1-BGB1_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7100.1 | LOAD STOPPER RESET | True | True | True
+259+020+CA01=M38-MA1-BGB2_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7301.1 | UNLOAD STOPPER SET | True | True | True
+259+020+CA01=M38-MA1-BGB1_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7300.1 | UNLOAD STOPPER RESET | True | True | True
+259+020+CA01=M37-MA1-BGB2_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7301.0 | PRE-UNLOAD STOPPER SET | True | True | True
+259+020+CA01=M37-MA1-BGB1_4 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %I7300.0 | PRE-UNLOAD STOPPER RESET | True | True | True
+259+020+CA01=M35-MA1 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %Q7050.0 | M35-MA1 – PRE-LOAD STOPPER | True | True | True
+259+020+CA01=M36-MA1 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %Q7050.1 | M36-MA1 – LOAD STOPPER | True | True | True
+259+020+CA01=M37-MA1 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %Q7250.0 | M37-MA1 – PRE-UNLOAD STOPPER | True | True | True
+259+020+CA01=M38-MA1 | Conveyor I/O ADDRESSES WILL BE UPDATED | Bool | %Q7250.1 | M38-MA1 – UNLOAD STOPPER | True | True | True
From251001_RobPrgNbrRequest | PNPN_259001_251001 | Bool | %I25000.0 | Signals from 251001 : RobPrgNbrRequest | True | True | True
From251001_ProdPrgmRunning | PNPN_259001_251001 | Bool | %I25000.1 | Signals from 251001 : ProdPrgmRunning | True | True | True
From251001_Req21000[1]ReqRobAct | PNPN_259001_251001 | Bool | %I25000.2 | Signals from 251001 : Req21000[1]ReqRobAct | True | True | True
From251001_Rob21000[1]RobInZone | PNPN_259001_251001 | Bool | %I25000.3 | Signals from 251001 : Rob21000[1]RobInZone | True | True | True
From251001_Rob21000[1]RobOutOfZone | PNPN_259001_251001 | Bool | %I25000.4 | Signals from 251001 : Rob21000[1]RobOutOfZone | True | True | True
From251001_Req29000[1]ReqRobAct | PNPN_259001_251001 | Bool | %I25000.5 | Signals from 251001 : Req29000[1]ReqRobAct | True | True | True
From251001_Req27000[1]ReqRobAct | PNPN_259001_251001 | Bool | %I25000.6 | Signals from 251001 : Req27000[1]ReqRobAct | True | True | True
From251001_Rob27000[1]RobInZone | PNPN_259001_251001 | Bool | %I25000.7 | Signals from 251001 : Rob27000[1]RobInZone | True | True | True
From251001_Rob27000[1]RobOutOfZone | PNPN_259001_251001 | Bool | %I25001.0 | Signals from 251001 : Rob27000[1]RobOutOfZone | True | True | True
From251001_SpareBit9 | PNPN_259001_251001 | Bool | %I25001.1 | Signals from 251001 : Spare | True | True | True
From251001_DataLoadDone | PNPN_259001_251001 | Bool | %I25001.2 | Signals from 251001 : DataLoadDone | True | True | True
From251001_ResetPassivation | PNPN_259001_251001 | Bool | %I25001.3 | Signals from 251001 : ResetPassivation | True | True | True
From251001_EmptyStnModeSel | PNPN_259001_251001 | Bool | %I25001.4 | Signals from 251001 : EmptyStnModeSel | True | True | True
From251001_SimWithoutPartMode | PNPN_259001_251001 | Bool | %I25001.5 | Signals from 251001 : SimWithoutPartMode | True | True | True
From251001_AccessStopReq | PNPN_259001_251001 | Bool | %I25001.6 | Signals from 251001 : AccessStopReq | True | True | True
From251001_Heartbeat | PNPN_259001_251001 | Bool | %I25001.7 | Signals from 251001 : Heartbeat | True | True | True
From251001_M1-MM1SumPosSet | PNPN_259001_251001 | Bool | %I25002.0 | Signals from 251001 : M1-MM1 SumPosSet | True | True | True
From251001_M1-MM1SumPosRes | PNPN_259001_251001 | Bool | %I25002.1 | Signals from 251001 : M1-MM1 SumPosRes | True | True | True
From251001_M2-MM1SumPosSet | PNPN_259001_251001 | Bool | %I25002.2 | Signals from 251001 : M2-MM1 SumPosSet | True | True | True
From251001_M2-MM1SumPosRes | PNPN_259001_251001 | Bool | %I25002.3 | Signals from 251001 : M2-MM1 SumPosRes | True | True | True
From251001_SpareDWord5 | PNPN_259001_251001 | DWord | %ID25004 | Signals from 251001 : Spare | True | True | True
From251001_SpareDWord6 | PNPN_259001_251001 | DWord | %ID25008 | Signals from 251001 : Spare | True | True | True
From251001_SpareWord7 | PNPN_259001_251001 | Word | %IW25012 | Signals from 251001 : Spare | True | True | True
From251001_SpareWord8 | PNPN_259001_251001 | Word | %IW25014 | Signals from 251001 : Spare | True | True | True
From251001_SpareWord9 | PNPN_259001_251001 | Word | %IW25016 | Signals from 251001 : Spare | True | True | True
From251001_SpareDword10 | PNPN_259001_251001 | DWord | %ID25018 | Signals from 251001 : Spare | True | True | True
From251001_SpareDword11 | PNPN_259001_251001 | DWord | %ID25022 | Signals from 251001 : Spare | True | True | True
From251001_SpareDword12 | PNPN_259001_251001 | DWord | %ID25026 | Signals from 251001 : Spare | True | True | True
From251001_SpareDWord13 | PNPN_259001_251001 | DWord | %ID25025 | Signals from 251001 : Spare | True | True | True
From251001_SpareDWord14 | PNPN_259001_251001 | DWord | %ID25034 | Signals from 251001 : Spare | True | True | True
From251001_010ZM01ActiveMode | PNPN_259001_251001 | "Modes" | %I25052.0 | Signals from 251001 : 010ZM01 ActiveMode | True | True | True
From251001_010ZM01H_HMI | PNPN_259001_251001 | "H_HMI" | %I25104.0 | Signals from 251001 : 010ZM01 H_HMI | True | True | True
ProductionOrder_To251001 | PNPN_259001_251001 | Bool | %Q25000.0 | Signals to 251001 : ProductionOrder | True | True | True
Req21000[1]CondOk_To251001 | PNPN_259001_251001 | Bool | %Q25000.1 | Signals to 251001 : Req21000[1]CondOk | True | True | True
Req29000[1]CondOk_To251001 | PNPN_259001_251001 | Bool | %Q25000.2 | Signals to 251001 : Req29000[1]CondOk | True | True | True
M1-MM1SetBegin_To251001 | PNPN_259001_251001 | Bool | %Q25000.3 | Signals to 251001 : M1-MM1 SetBegin | True | True | True
M1-MM1ResBegin_To251001 | PNPN_259001_251001 | Bool | %Q25000.4 | Signals to 251001 : M1-MM1 ResBegin | True | True | True
M2-MM1SetBegin_To251001 | PNPN_259001_251001 | Bool | %Q25000.5 | Signals to 251001 : M2-MM1 SetBegin | True | True | True
M2-MM1ResBegin_To251001 | PNPN_259001_251001 | Bool | %Q25000.6 | Signals to 251001 : M2-MM1 ResBegin | True | True | True
SpareBit7_To251001 | PNPN_259001_251001 | Bool | %Q25000.7 | Signals to 251001 : Spare | True | True | True
SpareBit8StartPB_To251001 | PNPN_259001_251001 | Bool | %Q25001.0 | Signals to 251001 : Spare StartPB | True | True | True
SpareBit9ResetPassivation_To251001 | PNPN_259001_251001 | Bool | %Q25001.1 | Signals to 251001 : Spare ResetPassivation | True | True | True
StartPB_To251001 | PNPN_259001_251001 | Bool | %Q25001.2 | Signals to 251001 : StartPB | True | True | True
ResetPassivation_To251001 | PNPN_259001_251001 | Bool | %Q25001.3 | Signals to 251001 : ResetPassivation | True | True | True
EmptyStnModeSel_To251001 | PNPN_259001_251001 | Bool | %Q25001.4 | Signals to 251001 : EmptyStnModeSel | True | True | True
SimWithoutPartMode_To251001 | PNPN_259001_251001 | Bool | %Q25001.5 | Signals to 251001 : SimWithoutPartMode | True | True | True
AccessStopReq_To251001 | PNPN_259001_251001 | Bool | %Q25001.6 | Signals to 251001 : AccessStopReq | True | True | True
Heartbeat_To251001 | PNPN_259001_251001 | Bool | %Q25001.7 | Signals to 251001 : Heartbeat | True | True | True
ReqRobAct27xxx_To251001 | PNPN_259001_251001 | Bool | %Q25002.0 | Signals to 251001 : ReqRobAct27xxx | True | True | True
RobInZone27xxx_To251001 | PNPN_259001_251001 | Bool | %Q25002.1 | Signals to 251001 : RobInZone27xxx | True | True | True
RobOutOfZone21xxx_To251001 | PNPN_259001_251001 | Bool | %Q25002.2 | Signals to 251001 : RobOutOfZone21xxx | True | True | True
SpareDWord4_To251001 | PNPN_259001_251001 | DWord | %QD25004 | Signals to 251001 : Spare | True | True | True
SpareDWord5_To251001 | PNPN_259001_251001 | DWord | %QD25008 | Signals to 251001 : Spare | True | True | True
SpareWord6_To251001 | PNPN_259001_251001 | Word | %QW25012 | Signals to 251001 : Spare | True | True | True
SpareWord7_To251001 | PNPN_259001_251001 | Word | %QW25014 | Signals to 251001 : Spare | True | True | True
SpareDWord8_To251001 | PNPN_259001_251001 | DWord | %QD25016 | Signals to 251001 : Spare | True | True | True
SpareWord9_To251001 | PNPN_259001_251001 | Word | %QW25020 | Signals to 251001 : Spare | True | True | True
SpareWord10_To251001 | PNPN_259001_251001 | Word | %QW25022 | Signals to 251001 : Spare | True | True | True
SpareWord11_To251001 | PNPN_259001_251001 | Word | %QW25024 | Signals to 251001 : Spare | True | True | True
SpareWord12_To251001 | PNPN_259001_251001 | Word | %QW25026 | Signals to 251001 : Spare | True | True | True
ActiveMode_To251001 | PNPN_259001_251001 | "Modes" | %Q25038.0 | Signals to 251001 : ActiveMode | True | True | True
FIFO[0]_To251001 | PNPN_259001_251001 | "PCSPartData" | %Q25090.0 | Signals to 251001 : FIFO[0] | True | True | True
H_HMI_To251001 | PNPN_259001_251001 | "H_HMI" | %Q25176.0 | Signals to 251001 : H_HMI | True | True | True
RobPrgNbrRequest_To251002 | PNPN_251002_259001 | Bool | %Q30000.0 | Signals to 251002 : RobPrgNbrRequest | True | True | True
ProdPrgmRunning_To251002 | PNPN_251002_259001 | Bool | %Q30000.1 | Signals to 251002 : ProdPrgmRunning | True | True | True
Req21000[1]ReqRobAct_To251002 | PNPN_251002_259001 | Bool | %Q30000.2 | Signals to 251002 : Req21000[1]ReqRobAct | True | True | True
Rob21000[1]RobInZone_To251002 | PNPN_251002_259001 | Bool | %Q30000.3 | Signals to 251002 : Rob21000[1]RobInZone | True | True | True
Rob21000[1]RobOutOfZone_To251002 | PNPN_251002_259001 | Bool | %Q30000.4 | Signals to 251002 : Rob21000[1]RobOutOfZone | True | True | True
Req30000[1]ReqRobAct_To251002 | PNPN_251002_259001 | Bool | %Q30000.5 | Signals to 251002 : Req30000[1]ReqRobAct | True | True | True
Req27000[1]ReqRobAct_To251002 | PNPN_251002_259001 | Bool | %Q30000.6 | Signals to 251002 : Req27000[1]ReqRobAct | True | True | True
Rob27000[1]RobInZone_To251002 | PNPN_251002_259001 | Bool | %Q30000.7 | Signals to 251002 : Rob27000[1]RobInZone | True | True | True
Rob27000[1]RobOutOfZone_To251002 | PNPN_251002_259001 | Bool | %Q30001.0 | Signals to 251002 : Rob27000[1]RobOutOfZone | True | True | True
SpareBit9_To251002 | PNPN_251002_259001 | Bool | %Q30001.1 | Signals to 251002 : Spare | True | True | True
DataLoadDone_To251002 | PNPN_251002_259001 | Bool | %Q30001.2 | Signals to 251002 : DataLoadDone | True | True | True
ResetPassivation_To251002 | PNPN_251002_259001 | Bool | %Q30001.3 | Signals to 251002 : ResetPassivation | True | True | True
EmptyStnModeSel_To251002 | PNPN_251002_259001 | Bool | %Q30001.4 | Signals to 251002 : EmptyStnModeSel | True | True | True
SimWithoutPartMode_To251002 | PNPN_251002_259001 | Bool | %Q30001.5 | Signals to 251002 : SimWithoutPartMode | True | True | True
AccessStopReq_To251002 | PNPN_251002_259001 | Bool | %Q30001.6 | Signals to 251002 : AccessStopReq | True | True | True
Heartbeat_To251002 | PNPN_251002_259001 | Bool | %Q30001.7 | Signals to 251002 : Heartbeat | True | True | True
M1-MM1SumPosSet_To251002 | PNPN_251002_259001 | Bool | %Q30002.0 | Signals to 251002 : M1-MM1 SumPosSet | True | True | True
M1-MM1SumPosRes_To251002 | PNPN_251002_259001 | Bool | %Q30002.1 | Signals to 251002 : M1-MM1 SumPosRes | True | True | True
M2-MM1SumPosSet_To251002 | PNPN_251002_259001 | Bool | %Q30002.2 | Signals to 251002 : M2-MM1 SumPosSet | True | True | True
M2-MM1SumPosRes_To251002 | PNPN_251002_259001 | Bool | %Q30002.3 | Signals to 251002 : M2-MM1 SumPosRes | True | True | True
SpareDWord5_To251002 | PNPN_251002_259001 | DWord | %QD30004 | Signals to 251002 : Spare | True | True | True
SpareDWord6_To251002 | PNPN_251002_259001 | DWord | %QD30008 | Signals to 251002 : Spare | True | True | True
SpareWord7_To251002 | PNPN_251002_259001 | Word | %QW30012 | Signals to 251002 : Spare | True | True | True
SpareWord8_To251002 | PNPN_251002_259001 | Word | %QW30014 | Signals to 251002 : Spare | True | True | True
SpareWord9_To251002 | PNPN_251002_259001 | Word | %QW30016 | Signals to 251002 : Spare | True | True | True
SpareDword10_To251002 | PNPN_251002_259001 | DWord | %QD30018 | Signals to 251002 : Spare | True | True | True
SpareDword11_To251002 | PNPN_251002_259001 | DWord | %QD30022 | Signals to 251002 : Spare | True | True | True
SpareDword12_To251002 | PNPN_251002_259001 | DWord | %QD30026 | Signals to 251002 : Spare | True | True | True
SpareDWord13_To251002 | PNPN_251002_259001 | DWord | %QD30030 | Signals to 251002 : Spare | True | True | True
SpareDWord14_To251002 | PNPN_251002_259001 | DWord | %QD30034 | Signals to 251002 : Spare | True | True | True
040ZM03ActiveMode_To251002 | PNPN_251002_259001 | "Modes" | %Q30052.0 | Signals to 251002 : 040ZM03 ActiveMode | True | True | True
040ZM03H_HMI_To251002 | PNPN_251002_259001 | "H_HMI" | %Q30104.0 | Signals to 251002 : 040ZM03 H_HMI | True | True | True
From251002_ProductionOrder | PNPN_251002_259001 | Bool | %I30000.0 | Signals from 251002 : ProductionOrder | True | True | True
From251002_Req21000[1]CondOk | PNPN_251002_259001 | Bool | %I30000.1 | Signals from 251002 : Req21000[1]CondOk | True | True | True
From251002_Req29001[1]CondOk | PNPN_251002_259001 | Bool | %I30000.2 | Signals from 251002 : Req30000[1]CondOk | True | True | True
From251002_Req21000[1]IntlkOk | PNPN_251002_259001 | Bool | %I30000.3 | Signals from 251002 : Req27000[1]CondOk | True | True | True
From251002_M1-MM1SetBegin | PNPN_251002_259001 | Bool | %I30000.4 | Signals from 251002 : M1-MM1 SetBegin | True | True | True
From251002_M1-MM1ResBegin | PNPN_251002_259001 | Bool | %I30000.5 | Signals from 251002 : M1-MM1 ResBegin | True | True | True
From251002_M2-MM1SetBegin | PNPN_251002_259001 | Bool | %I30000.6 | Signals from 251002 : M2-MM1 SetBegin | True | True | True
From251002_M2-MM1ResBegin | PNPN_251002_259001 | Bool | %I30000.7 | Signals from 251002 : M2-MM1 ResBegin | True | True | True
From251002_SpareBit8 | PNPN_251002_259001 | Bool | %I30001.0 | Signals from 251002 : Spare | True | True | True
From251002_SpareBit9 | PNPN_251002_259001 | Bool | %I30001.1 | Signals from 251002 : Spare | True | True | True
From251002_StartPB | PNPN_251002_259001 | Bool | %I30001.2 | Signals from 251002 : StartPB | True | True | True
From251002_ResetPassivation | PNPN_251002_259001 | Bool | %I30001.3 | Signals from 251002 : ResetPassivation | True | True | True
From251002_EmptyStnModeSel | PNPN_251002_259001 | Bool | %I30001.4 | Signals from 251002 : EmptyStnModeSel | True | True | True
From251002_SimWithoutPartMode | PNPN_251002_259001 | Bool | %I30001.5 | Signals from 251002 : SimWithoutPartMode | True | True | True
From251002_AccessStopReq | PNPN_251002_259001 | Bool | %I30001.6 | Signals from 251002 : AccessStopReq | True | True | True
From251002_Heartbeat | PNPN_251002_259001 | Bool | %I30001.7 | Signals from 251002 : Heartbeat | True | True | True
From251002_ReqRobAct27xxx | PNPN_251002_259001 | Bool | %I30002.0 | Signals from 251002 : ReqRobAct27xxx | True | True | True
From251002_RobInZone27xxx | PNPN_251002_259001 | Bool | %I30002.1 | Signals from 251002 : RobInZone27xxx | True | True | True
From251002_RobOutOfZone21xxx | PNPN_251002_259001 | Bool | %I30002.2 | Signals from 251002 : RobOutOfZone21xxx | True | True | True
From251002_SpareDWord4 | PNPN_251002_259001 | DWord | %ID30004 | Signals from 251002 : Spare | True | True | True
From251002_SpareDWord5 | PNPN_251002_259001 | DWord | %ID30008 | Signals from 251002 : Spare | True | True | True
From251002_SpareWord6 | PNPN_251002_259001 | Word | %IW30012 | Signals from 251002 : Spare | True | True | True
From251002_SpareWord7 | PNPN_251002_259001 | Word | %IW30014 | Signals from 251002 : Spare | True | True | True
From251002_SpareDWord8 | PNPN_251002_259001 | DWord | %ID30016 | Signals from 251002 : Spare | True | True | True
From251002_SpareWord9 | PNPN_251002_259001 | Word | %IW30020 | Signals from 251002 : Spare | True | True | True
From251002_SpareWord10 | PNPN_251002_259001 | Word | %IW30022 | Signals from 251002 : Spare | True | True | True
From251002_SpareWord11 | PNPN_251002_259001 | Word | %IW30024 | Signals from 251002 : Spare | True | True | True
From251002_SpareWord12 | PNPN_251002_259001 | Word | %IW30026 | Signals from 251002 : Spare | True | True | True
From251002_ActiveMode | PNPN_251002_259001 | "Modes" | %I30038.0 | Signals from 251002 : ActiveMode | True | True | True
From251002_FIFO[0] | PNPN_251002_259001 | "PCSPartData" | %I30090.0 | Signals from 251002 : FIFO[0] | True | True | True
From251002_H_HMI | PNPN_251002_259001 | "H_HMI" | %I30176.0 | Signals from 251002 : H_HMI | True | True | True
+259+021+AP05=-KHB1_S1_4 | Safety I/O | Bool | %I17450.4 | FEEDBACK AIR SUPPLY +259+021 VALVE 1 (CH 2) | True | True | True
+259+021+AP05=-KHB1_S2_4 | Safety I/O | Bool | %I17450.5 | FEEDBACK AIR SUPPLY +259+021 VALVE 2 (CH 2) | True | True | True
+259+020+ZM01=B1-BGB1_4 | All | Bool | %I18700.2 | DETECT CARPART | True | True | True
+259+020+AP10=K3-KEC187_-X2_3 | All | Bool | %Q18700.4 | 259020JG02A GLUE CHECK CAMERA RH PART | True | True | True
+259+020+AP10=K3-KEC187_-X4_3 | All | Bool | %Q18701.0 | 259020JG02A GLUE CHECK CAMERA LH PART | True | True | True
LIFT_In | PNPN I/O | "PNPN" | %I29181.0 | PN Interface In | True | True | True
LIFT_Out | PNPN I/O | "PNPN" | %Q29181.0 | PN Interface Out | True | True | True
+259+020+CA01=M1-TAC90_In_MovisafeSW | Safety I/O | "MovisafeSW" | %I9050.0 | Profisafe Status I/O | True | True | True
+259+020+CA01=M1-TAC90_Out_MovisafeCW | Safety I/O | "MovisafeCW" | %Q9050.0 | Profisafe Status I/O | True | True | True
+251+020+CCL01=K5-KHB62.0 | All | Bool | %Q6250.0 | POWER SUPPLY IO MODULE | True | True | True
021FD01A_GeneratePart | All | Bool | %Q17000.0 | VC 021FD01A PART GENERATE | True | True | True
021FD01A_PartTo021CG01 | All | Bool | %Q17000.1 | VC 021FD01A PART TO SLIDE TABLE | True | True | True
021FD02A_GenerateStep1 | All | Bool | %Q17000.2 | VC 021FD02A STEP 1 TO FIXTURE | True | True | True
021FD02A_GenerateStep2 | All | Bool | %Q17000.3 | VC 021FD02A STEP 2 TO FIXTURE | True | True | True
020FD01A_Generate | All | Bool | %Q17000.4 | VC 020FD01A PART GENERATE | True | True | True
020FM01_Generate | All | Bool | %Q17000.5 | VC 020FD01A PART GENERATE | True | True | True
020FD03A_Generate | All | Bool | %Q17000.6 | VC 020FD01A PART GENERATE | True | True | True
021FD02A_KillPart | All | Bool | %Q17000.7 | VC 021FD01A PART TO SLIDE TABLE | True | True | True
021FD02A_WeldDone | All | Bool | %Q17001.0 | VC 021FD01A WELD DONE | True | True | True
020FD03A_WeldDone | All | Bool | %Q17001.1 | VC 021FD01A WELD DONE | True | True | True
RobPrgNbrRequest_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.0 | Signals to LIFT : RobPrgNbrRequest | True | True | True
ProdPrgmRunning_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.1 | Signals to LIFT : ProdPrgmRunning | True | True | True
Req21000[1]ReqRobAct_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.2 | Signals to LIFT : Req21000[1]ReqRobAct | True | True | True
Rob21000[1]RobInZone_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.3 | Signals to LIFT : Rob21000[1]RobInZone | True | True | True
Rob21000[1]RobOutOfZone_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.4 | Signals to LIFT : Rob21000[1]RobOutOfZone | True | True | True
Req29000[1]ReqRobAct_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.5 | Signals to LIFT : Req29000[1]ReqRobAct | True | True | True
Req27000[1]ReqRobAct_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.6 | Signals to LIFT : Req27000[1]ReqRobAct | True | True | True
Rob27000[1]RobInZone_ToLIFT | PNPN_259001_LIFT | Bool | %Q29000.7 | Signals to LIFT : Rob27000[1]RobInZone | True | True | True
Rob27000[1]RobOutOfZone_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.0 | Signals to LIFT : Rob27000[1]RobOutOfZone | True | True | True
SpareBit9_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.1 | Signals to LIFT : Spare | True | True | True
DataLoadDone_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.2 | Signals to LIFT : DataLoadDone | True | True | True
ResetPassivation_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.3 | Signals to LIFT : ResetPassivation | True | True | True
EmptyStnModeSel_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.4 | Signals to LIFT : EmptyStnModeSel | True | True | True
SimWithoutPartMode_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.5 | Signals to LIFT : SimWithoutPartMode | True | True | True
AccessStopReq_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.6 | Signals to LIFT : AccessStopReq | True | True | True
Heartbeat_ToLIFT | PNPN_259001_LIFT | Bool | %Q29001.7 | Signals to LIFT : Heartbeat | True | True | True
M1-MM1SumPosSet_ToLIFT | PNPN_259001_LIFT | Bool | %Q29002.0 | Signals to LIFT : M1-MM1 SumPosSet | True | True | True
M1-MM1SumPosRes_ToLIFT | PNPN_259001_LIFT | Bool | %Q29002.1 | Signals to LIFT : M1-MM1 SumPosRes | True | True | True
M2-MM1SumPosSet_ToLIFT | PNPN_259001_LIFT | Bool | %Q29002.2 | Signals to LIFT : M2-MM1 SumPosSet | True | True | True
M2-MM1SumPosRes_ToLIFT | PNPN_259001_LIFT | Bool | %Q29002.3 | Signals to LIFT : M2-MM1 SumPosRes | True | True | True
SpareDWord5_ToLIFT | PNPN_259001_LIFT | DWord | %QD29004 | Signals to LIFT : Spare | True | True | True
SpareDWord6_ToLIFT | PNPN_259001_LIFT | DWord | %QD29008 | Signals to LIFT : Spare | True | True | True
SpareWord7_ToLIFT | PNPN_259001_LIFT | Word | %QW29012 | Signals to LIFT : Spare | True | True | True
SpareWord8_ToLIFT | PNPN_259001_LIFT | Word | %QW29014 | Signals to LIFT : Spare | True | True | True
SpareWord9_ToLIFT | PNPN_259001_LIFT | Word | %QW29016 | Signals to LIFT : Spare | True | True | True
SpareDword10_ToLIFT | PNPN_259001_LIFT | DWord | %QD29018 | Signals to LIFT : Spare | True | True | True
SpareDword11_ToLIFT | PNPN_259001_LIFT | DWord | %QD29022 | Signals to LIFT : Spare | True | True | True
SpareDword12_ToLIFT | PNPN_259001_LIFT | DWord | %QD29026 | Signals to LIFT : Spare | True | True | True
SpareDWord13_ToLIFT | PNPN_259001_LIFT | DWord | %QD29030 | Signals to LIFT : Spare | True | True | True
SpareDWord14_ToLIFT | PNPN_259001_LIFT | DWord | %QD29034 | Signals to LIFT : Spare | True | True | True
040ZM03ActiveMode_ToLIFT | PNPN_259001_LIFT | "Modes" | %Q29052.0 | Signals to LIFT : 040ZM03 ActiveMode | True | True | True
040ZM03H_HMI_ToLIFT | PNPN_259001_LIFT | "H_HMI" | %Q29104.0 | Signals to LIFT : 040ZM03 H_HMI | True | True | True
FromLIFT_ProductionOrder | PNPN_259001_LIFT | Bool | %I29000.0 | Signals from LIFT : ProductionOrder | True | True | True
FromLIFT_Req21000[3]CondOk | PNPN_259001_LIFT | Bool | %I29000.1 | Signals from LIFT : Req21000[1]CondOk | True | True | True
FromLIFT_Req29000[3]CondOk | PNPN_259001_LIFT | Bool | %I29000.2 | Signals from LIFT : Req29000[1]CondOk | True | True | True
FromLIFT_M1-MM1SetBegin | PNPN_259001_LIFT | Bool | %I29000.3 | Signals from LIFT : M1-MM1 SetBegin | True | True | True
FromLIFT_M1-MM1ResBegin | PNPN_259001_LIFT | Bool | %I29000.4 | Signals from LIFT : M1-MM1 ResBegin | True | True | True
FromLIFT_M2-MM1SetBegin | PNPN_259001_LIFT | Bool | %I29000.5 | Signals from LIFT : M2-MM1 SetBegin | True | True | True
FromLIFT_M2-MM1ResBegin | PNPN_259001_LIFT | Bool | %I29000.6 | Signals from LIFT : M2-MM1 ResBegin | True | True | True
FromLIFT_Req27000[3]CondOk | PNPN_259001_LIFT | Bool | %I29000.7 | Signals from LIFT : Req27000[1]CondOk | True | True | True
FromLIFT_SpareBit8StartPB | PNPN_259001_LIFT | Bool | %I29001.0 | Signals from LIFT : Spare StartPB | True | True | True
FromLIFT_SpareBit9ResetPassivation | PNPN_259001_LIFT | Bool | %I29001.1 | Signals from LIFT : Spare ResetPassivation | True | True | True
FromLIFT_StartPB | PNPN_259001_LIFT | Bool | %I29001.2 | Signals from LIFT : StartPB | True | True | True
FromLIFT_ResetPassivation | PNPN_259001_LIFT | Bool | %I29001.3 | Signals from LIFT : ResetPassivation | True | True | True
FromLIFT_EmptyStnModeSel | PNPN_259001_LIFT | Bool | %I29001.4 | Signals from LIFT : EmptyStnModeSel | True | True | True
FromLIFT_SimWithoutPartMode | PNPN_259001_LIFT | Bool | %I29001.5 | Signals from LIFT : SimWithoutPartMode | True | True | True
FromLIFT_AccessStopReq | PNPN_259001_LIFT | Bool | %I29001.6 | Signals from LIFT : AccessStopReq | True | True | True
FromLIFT_Heartbeat | PNPN_259001_LIFT | Bool | %I29001.7 | Signals from LIFT : Heartbeat | True | True | True
FromLIFT_Req21000[3]IntlkOk | PNPN_259001_LIFT | Bool | %I29002.0 | Signals from LIFT : Req21000[1]IntlkOk | True | True | True
FromLIFT_Req27000[3]IntlkOk | PNPN_259001_LIFT | Bool | %I29002.1 | Signals from LIFT : Req27000[1]IntlkOk | True | True | True
FromLIFT_SpareBit3 | PNPN_259001_LIFT | Bool | %I29002.2 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareDWord4 | PNPN_259001_LIFT | DWord | %ID29004 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareDWord5 | PNPN_259001_LIFT | DWord | %ID29008 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareWord6 | PNPN_259001_LIFT | Word | %IW29012 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareWord7 | PNPN_259001_LIFT | Word | %IW29014 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareDWord8 | PNPN_259001_LIFT | DWord | %ID29016 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareWord9 | PNPN_259001_LIFT | Word | %IW29020 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareWord10 | PNPN_259001_LIFT | Word | %IW29022 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareWord11 | PNPN_259001_LIFT | Word | %IW29024 | Signals from LIFT : Spare | True | True | True
FromLIFT_SpareWord12 | PNPN_259001_LIFT | Word | %IW29026 | Signals from LIFT : Spare | True | True | True
FromLIFT_ActiveMode | PNPN_259001_LIFT | "Modes" | %I29038.0 | Signals from LIFT : ActiveMode | True | True | True
FromLIFT_FIFO[0] | PNPN_259001_LIFT | "PCSPartData" | %I29090.0 | Signals from LIFT : FIFO[0] | True | True | True
FromLIFT_H_HMI | PNPN_259001_LIFT | "H_HMI" | %I29176.0 | Signals from LIFT : H_HMI | True | True | True
+550+030+MSR01=F7-BRB2.1_4
+550+030+MSR01=F7-BRB2.2_4
+550+030+MSR01=F7-BRB1.1_2
+550+030+MSR01=F7-BRB1.1_4
+550+030+MSR01=F7-BRB2.3_4
+550+030+MSR01=F7-BRB2.4_4

## TagTable Properties
Path | BelongsToUnit | Accessibility
Safety I/O
HMI
All
Rack Changer
Standard I/O
General
PNPN I/O
Euchner
AK01
Take Out
Conveyor I/O ADDRESSES WILL BE UPDATED
PNPN_259001_251001
PNPN_251002_259001
PNPN_259001_LIFT